## ELECRICAL
PROJECT |  | NEW SERVICE BUILDING AT ENGLEWOOD SUBARU
ADDRESS |  | S VAN BRUNT STREET, ENGLEWOOD NEWJERSEY 07631
Date of Submission |  | 2023-08-04
Date of plans |  | 2023-07-13 |  |  | E-mail: estimate@msbestimating.com
TOTAL BASE BID |  | 0 |  |  | Contact: | (305)-813-0053
ALTERNATE #1 |  | 0
SR # | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION |  | WASTE | QTY. W/ WASTE | UNIT | UNIT COST | TOTAL COST | SUB TOTAL
BASE BID
|  |  | 26 00 00 | ELECTRICAL
LIGHTING FIXTURES
1 | E3.1 - E5.2 |  |  | Single Pole Toggle Switch | 2 | 0% | 2 | EA | 0 | 0
2 | E3.1 - E5.2 |  |  | Wall Mounted Light Switch With Dual Tech Vacancy Sensor | 3 | 0% | 3 | EA | 0 | 0
3 | E3.1 - E5.2 | E5.2 |  | A: 2'x2' LED Recessed Lighting Fixture Mfr./Model: WILLIAMS PT-22-L26-840-RA-EM/12W-DIM-UNV | 5 | 0% | 5 | EA | 0 | 0
4 | E3.1 - E5.2 | E5.2 |  | B: 2'x4' LED Recessed Lighting Fixture Mfr./Model: WILLIAMS PT-24-L38-840-RA-EM/12W-DIM-UNV | 8 | 0% | 8 | EA | 0 | 0
5 | E3.1 - E5.2 | E5.2 |  | C: Pendant/Surface Mounted High-Bay LED Fixture Mfr./Model: WILLIAMS GP2-L150-840-W-CL-EM/12W-DIM-UNV | 61 | 0% | 61 | EA | 0 | 0
6 | E3.1 - E5.2 | E5.2 |  | D: 4' Pendant/Surface Mounted LED Linear Fixture Mfr./Model: WILLIAMS 76R-4-L94-8-40-EM/10W-DRV-UNV | 42 | 0% | 42 | EA | 0 | 0
7 | E3.1 - E5.2 | E5.2 |  | D: 8' Pendant/Surface Mounted LED Linear Fixture Mfr./Model: WILLIAMS 76R-4-L94-8-40-EM/10W-DRV-UNV | 4 | 0% | 4 | EA | 0 | 0
8 | E3.1 - E5.2 | E5.2 |  | E: Exterior Building Mounted LED Fixture Mfr./Model: KIM WDS-D-24L-30-3K7-1-UNV-BLS-EM | 13 | 0% | 13 | EA | 0 | 0
9 | E3.1 - E5.2 | E5.2 |  | LED Edgelit Exit Sign Mfr./Model: DUAL-LITE LES-MOUNT-FACE-R-ARROWS-FINISH-E-I-M | 3 | 0% | 3 | EA | 0 | 0
10 | E3.1 - E5.2 | E5.2 |  | 1-Button Digital Wall Switch Mfr./Model: Hubbell NXSW-OO | 1 | 0% | 1 | EA | 0 | 0
11 | E3.1 - E5.2 | E5.2 |  | 1-Relay on/off-dimming Room Controller Mfr./Model: Hubbell NXRCF2-1RD-UNV | 3 | 0% | 3 | EA | 0 | 0
12 | E3.1 - E5.2 | E5.2 |  | 4-Button Digital Dimmer Switch Mfr./Model: Hubbell NXSW-4 | 33 | 0% | 33 | EA | 0 | 0
13 | E3.1 - E5.2 | E5.2 |  | Ceiling Mounted Dual Technology Occupancy Sensor Mfr./Model: Hubbell NXOS-OMDT2 | 3 | 0% | 3 | EA | 0 | 0
14 | E3.1 - E5.2 | E5.2 |  | Ceiling Mounted Dual Technology Occupancy Sensor Mfr./Model: Hubbell WSPSM24V | 10 | 0% | 10 | EA | 0 | 0
15 | E3.1 - E5.2 | E5.2 |  | Light Control Panel Mfr./Model: NXP2-EIT-32-32-(924)-UNV-S-U-S | 1 | 0% | 1 | EA | 0 | 0
16 | E3.1 - E5.2 |  |  | Relay 20A/1P | 32 | 0% | 32 | EA | 0 | 0
POWER FIXTURES
17 | E2.1 - E4.2 |  |  | 100A/100A, 3P Disconnect Switch | 3 | 0% | 3 | EA | 0 | 0
18 | E2.1 - E4.2 |  |  | 100AF/60AT, 3P Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0
19 | E2.1 - E4.2 |  |  | 120V, 1P, 20A Duplex Receptacle, Ceiling Mounted | 32 | 0% | 32 | EA | 0 | 0
20 | E2.1 - E4.2 |  |  | 20Amp, 125V, 2P, 3W NEMA 5-20R Duplex Convenience Receptacle | 6 | 0% | 6 | EA | 0 | 0
21 | E2.1 - E4.2 |  |  | 225AF/200AT, 3P Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0
22 | E2.1 - E4.2 |  |  | 240V, 2P, 30A Disconnect Switch | 16 | 0% | 16 | EA | 0 | 0
23 | E2.1 - E4.2 |  |  | 250AF/250AT, 3P Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0
24 | E2.1 - E4.2 |  |  | 277/480V, 3P, 4W Transient Voltage Surge Suppressor, Joslyn Surgitron 1456-85-MN | 1 | 0% | 1 | EA | 0 | 0
25 | E2.1 - E4.2 |  |  | 4' Surface Mounted Race Cover w/ (6) Duplex Receptacles | 16 | 0% | 16 | EA | 0 | 0
26 | E2.1 - E4.2 |  |  | 400AF/250AT, 3P Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0
27 | E2.1 - E4.2 |  |  | 400AF/350AT, 3P Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0
28 | E2.1 - E4.2 |  |  | 400AF/400AT, 3P Disconnect Switch | 3 | 0% | 3 | EA | 0 | 0
29 | E2.1 - E4.2 |  |  | 480V, 3P, 20AS/20AF Fused Disconnect Switch | 5 | 0% | 5 | EA | 0 | 0
30 | E2.1 - E4.2 |  |  | 600AF/600AT Main Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0
31 | E2.1 - E4.2 |  |  | 800AF/800AT, 3P Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0
32 | E2.1 - E4.2 |  |  | Ground Fault Receptacle | 19 | 0% | 19 | EA | 0 | 0
33 | E2.1 - E4.2 |  |  | Ground Fault Receptacle, Mounted 48" or 6" Above Back Splash | 23 | 0% | 23 | EA | 0 | 0
34 | E2.1 - E4.2 |  |  | Junction Box | 1 | 0% | 1 | EA | 0 | 0
35 | E2.1 - E4.2 |  |  | Non-Fused Disconnect Switch | 16 | 0% | 16 | EA | 0 | 0
36 | E2.1 - E4.2 |  |  | Single Pole Light Switch | 5 | 0% | 5 | EA | 0 | 0
37 | E2.1 - E4.2 |  |  | Special Receptacle | 4 | 0% | 4 | EA | 0 | 0
38 | E2.1 - E4.2 |  |  | Transformer - 225KVA 480V Delta, 120/208V | 1 | 0% | 1 | EA | 0 | 0
39 | E2.1 - E4.2 |  |  | Wall Mounted Junction Box | 16 | 0% | 16 | EA | 0 | 0
40 | E2.1 - E4.2 |  |  | DC: Door Controller | 5 | 0% | 5 | EA | 0 | 0
41 | E2.1 - E4.2 |  |  | Double Duplex Receptacle | 6 | 0% | 6 | EA | 0 | 0
42 | E2.1 - E4.2 |  |  | Electrical Meter | 1 | 0% | 1 | EA | 0 | 0
43 | E2.1 - E4.2 |  |  | Electrical Panel MDP - 480/277V, 3P, 4W | 1 | 0% | 1 | EA | 0 | 0
44 | E2.1 - E4.2 |  |  | Electrical Panel CW - 208/120V, 3P, 4W | 1 | 0% | 1 | EA | 0 | 0
45 | E2.1 - E4.2 |  |  | Electrical Panel DP-L - 208/120V, 3P, 4W | 1 | 0% | 1 | EA | 0 | 0
46 | E2.1 - E4.2 |  |  | Electrical Panel GL-1 - 208/120V, 3P, 4W | 1 | 0% | 1 | EA | 0 | 0
47 | E2.1 - E4.2 |  |  | Electrical Panel GL-2 - 208/120V, 3P, 4W | 1 | 0% | 1 | EA | 0 | 0
48 | E2.1 - E4.2 |  |  | Electrical Panel MPH - 480/277V, 3P, 4W | 1 | 0% | 1 | EA | 0 | 0
49 | E2.1 - E4.2 |  |  | Electrical Panel MPL - 208/120V, 3P, 4W | 1 | 0% | 1 | EA | 0 | 0
50 | E2.1 - E4.2 |  |  | Circuit Breaker 100A/3P | 2 | 0% | 2 | EA | 0 | 0
51 | E2.1 - E4.2 |  |  | Circuit Breaker 15A/1P | 1 | 0% | 1 | EA | 0 | 0
52 | E2.1 - E4.2 |  |  | Circuit Breaker 15A/2P | 3 | 0% | 3 | EA | 0 | 0
53 | E2.1 - E4.2 |  |  | Circuit Breaker 15A/3P | 1 | 0% | 1 | EA | 0 | 0
54 | E2.1 - E4.2 |  |  | Circuit Breaker 200A/3P | 1 | 0% | 1 | EA | 0 | 0
55 | E2.1 - E4.2 |  |  | Circuit Breaker 20A/1P | 129 | 0% | 129 | EA | 0 | 0
56 | E2.1 - E4.2 |  |  | Circuit Breaker 20A/2P | 22 | 0% | 22 | EA | 0 | 0
57 | E2.1 - E4.2 |  |  | Circuit Breaker 20A/3P | 7 | 0% | 7 | EA | 0 | 0
58 | E2.1 - E4.2 |  |  | Circuit Breaker 250A/3P | 1 | 0% | 1 | EA | 0 | 0
59 | E2.1 - E4.2 |  |  | Circuit Breaker 25A/2P | 1 | 0% | 1 | EA | 0 | 0
60 | E2.1 - E4.2 |  |  | Circuit Breaker 30A/2P | 1 | 0% | 1 | EA | 0 | 0
61 | E2.1 - E4.2 |  |  | Circuit Breaker 30A/3P | 3 | 0% | 3 | EA | 0 | 0
62 | E2.1 - E4.2 |  |  | Circuit Breaker 400A/3P | 4 | 0% | 4 | EA | 0 | 0
63 | E2.1 - E4.2 |  |  | Circuit Breaker 40A/2P | 1 | 0% | 1 | EA | 0 | 0
64 | E2.1 - E4.2 |  |  | Circuit Breaker 45A/3P | 2 | 0% | 2 | EA | 0 | 0
CAR WASH FIXTURES
65 | E2.3 |  |  | Air Switch (Bell Ringer Hose) | 1 | 0% | 1 | EA | 0 | 0
66 | E2.3 |  |  | CP0 Controller | 1 | 0% | 1 | EA | 0 | 0
67 | E2.3 |  |  | Door Control | 1 | 0% | 1 | EA | 0 | 0
68 | E2.3 |  |  | Door Control Box | 1 | 0% | 1 | EA | 0 | 0
69 | E2.3 |  |  | Door Photo Eye Sensor | 2 | 0% | 2 | EA | 0 | 0
70 | E2.3 |  |  | Dryer Control Box | 1 | 0% | 1 | EA | 0 | 0
71 | E2.3 |  |  | In Bay Junction Box | 1 | 0% | 1 | EA | 0 | 0
72 | E2.3 |  |  | Junction Box | 3 | 0% | 3 | EA | 0 | 0
73 | E2.3 |  |  | Main Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0
ELECTRICAL SITE
74 | E1.1 - E1.2 |  |  | 3.5" PVC Conduit with Pull Wire - 2 Set of Conduits | 304.8 | 10% | 335.28 | LF | 0 | 0
75 | E1.1 - E1.2 |  |  | 5" PVC Conduit with Pull Wire - 2 Set of Conduits | 257 | 10% | 282.7 | LF | 0 | 0
76 | E1.1 - E1.2 |  |  | 5" PVC Conduit with Pull Wire | 93 | 10% | 102.3 | LF | 0 | 0
77 | E1.1 - E1.2 |  |  | 4"x4" NEMA Splice Box in Last Reclaim Tank | 1 | 0% | 1 | EA | 0 | 0
78 | E1.1 - E1.2 |  |  | Underground Hand Hole | 1 | 0% | 1 | EA | 0 | 0
79 | E1.1 - E1.2 | E5.2 |  | L1: Exterior Building Mounted LED Fixure Mfr./Model: HUBBELL PVL3-180L-4K-277-035-BBU | 9 | 0% | 9 | EA | 0 | 0
80 | E1.1 - E1.2 |  |  | 1" Conduit w/ 2#16 AWG from Ozone Unit in Equipment Room 167 to New Tank | 1 | 0% | 1 | LS | 0 | 0
81 | E1.1 - E1.2 |  |  | 1" Conduit w/ pullwire from SOW panel to sand oil water separator | 1 | 0% | 1 | LS | 0 | 0
TRENCHING
| E1.1 - E1.2 |  |  | 3.5" PVC Conduit with Pull Wire (152.4 FT)
82 | E1.1 - E1.2 |  |  | Excavation (Assumed 3ft deep) | 43.688 | 10% | 48.0568 | CY | 0 | 0
83 | E1.1 - E1.2 |  |  | Backfill | 42.9427 | 10% | 47.237 | CY | 0 | 0
84 | E1.1 - E1.2 |  |  | 5" PVC Conduit with Pull Wire (222 FT) | 221.5
85 | E1.1 - E1.2 |  |  | Excavation | 69.8067 | 10% | 76.7873 | CY | 0 | 0
86 | E1.1 - E1.2 |  |  | Backfill | 64.2457 | 10% | 70.6703 | CY | 0 | 0
ALLOWANCE
87 |  |  |  | Allowance for Electrical Wiring, Feeders, Grounding and Misc. Electrical Requirements. | 1 | 0% | 1 | LS | 0 | 0
|  |  |  | Electrical Sub Total | [6 empty] | 0
|  |  | 27 00 00 | TELECOMMUNICATION
FIXTURES
88 | E2.1 - E4.2 |  |  | Data Outlet, 2-Gang Deep Box w/ Blank Faceplate | 18 | 0% | 18 | EA | 0 | 0
ALLOWANCE
89 |  |  |  | Allowance for Electrical Wiring, Feeders, Grounding and Misc. Telecommunication Requirements. | 1 | 0% | 1 | LS | 0 | 0
|  |  |  | Telecommunication Sub Total | [6 empty] | 0
|  |  | 28 00 00 | ELECTRONIC SAFETY AND SECURITY
FIRE ALARM FIXTURES
90 | E2.1 - E5.1 |  |  | Carbon Monoxide Detector | 3 | 0% | 3 | EA | 0 | 0
91 | E2.1 - E5.1 |  |  | Combination Fire Alarm Speaker/Strobe | 15 | 0% | 15 | EA | 0 | 0
92 | E2.1 - E5.1 |  |  | FACP: Fire Alarm Control Panel | 1 | 0% | 1 | EA | 0 | 0
93 | E2.1 - E5.1 |  |  | Fire Alarm Duct Smoke Detector | 3 | 0% | 3 | EA | 0 | 0
94 | E2.1 - E5.1 |  |  | Fire Alarm Heat Detector | 2 | 0% | 2 | EA | 0 | 0
95 | E2.1 - E5.1 |  |  | Fire Alarm Manual Pull Station | 4 | 0% | 4 | EA | 0 | 0
96 | E2.1 - E5.1 |  |  | Fire Alarm Smoke Detector | 1 | 0% | 1 | EA | 0 | 0
97 | E2.1 - E5.1 |  |  | Fire Alarm Strobe | 2 | 0% | 2 | EA | 0 | 0
ALLOWANCE
98 |  |  |  | Allowance for Electrical Wiring, Feeders, Grounding and Misc. Electronic Safety And Security Requirements. | 1 | 0% | 1 | LS | 0 | 0
|  |  |  | Electronic Safety & Security Sub Total | [6 empty] | 0
SUB - TOTAL | [9 empty] | 0 | 0
OVERHEAD AND PROFIT | [8 empty] | 20% | 0 | 0
TOTAL BASE BID | [9 empty] | 0 | 0
ALTERNATE
|  |  | 26 00 00 | ELECTRICAL
POWER FIXTURES
99 | E2.1 |  |  | 120V, 1P, 20A Duplex Receptacle, Ceiling Mounted | 1 | 0% | 1 | EA | 0 | 0
100 | E2.1 |  |  | 240V, 2P, 60A Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0
101 | E2.1 |  |  | Ground Fault Receptacle | 1 | 0% | 1 | EA | 0 | 0
102 | E2.1 |  |  | Special Receptacle | 1 | 0% | 1 | EA | 0 | 0
|  |  |  | Alternate Sub Total | [6 empty] | 0
SUB - TOTAL | [9 empty] | 0 | 0
OVERHEAD AND PROFIT | [8 empty] | 20% | 0 | 0
TOTAL BASE BID | [9 empty] | 0 | 0
EXCLUSIONS: |  | Equipment pads
Anything not mentioned above