## PLUMBING ESTIMATE
PROJECT
ADDRESS
Date of Submission |  | 2023-01-11 | [7 empty] | E-mail: estimate@msbestimating.com
Date of plans |  | 2021-04-12 | [7 empty] | Contact: | (305)-813-0053
TOTAL BASE BID |  | 0
SR # | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION | QTY. | WASTE | QTY. W/ WASTE | UNIT | LABOR COST | MATERIAL COST | TOTAL LABOR | TOTAL MATERIAL | TOTAL UNIT COST | TOTAL COST | SUB TOTAL
|  |  | 22 00 00 | PLUMBING
DOMESTIC WATER SYSTEM
Piping Material: Aqua Pex Wirsbo with Pro Pex Fittings.
UNDERGROUND
HORIZONTAL PIPING
1 | P1.00 |  |  | 1/2" Cold Water Line - Underground | 8.4 | 10% | 9.24 | LF | 0 | 0 | 0 | 0 | 0 | 0
2 | P1.00 |  |  | 3/4" Cold Water Line - Underground | 12 | 10% | 13.2 | LF | 0 | 0 | 0 | 0 | 0 | 0
3 | P1.00 |  |  | 1-1/2" Cold Water Line - Underground | 2.6 | 10% | 2.86 | LF | 0 | 0 | 0 | 0 | 0 | 0
4 | P1.00 |  |  | 1/2" Hot Water Line - Underground | 8.1 | 10% | 8.91 | LF | 0 | 0 | 0 | 0 | 0 | 0
5 | P1.00 |  |  | 3/4" Hot Water Line - Underground | 11.9 | 10% | 13.09 | LF | 0 | 0 | 0 | 0 | 0 | 0
RISERS
6 | P2.00 |  |  | 1/2" Cold Water Riser - Underground | 12 | 10% | 13.2 | LF | 0 | 0 | 0 | 0 | 0 | 0
7 | P2.00 |  |  | 3/4" Cold Water Riser - Underground | 3 | 10% | 3.3 | LF | 0 | 0 | 0 | 0 | 0 | 0
8 | P2.00 |  |  | 1-1/2" Cold Water Riser - Underground | 3 | 10% | 3.3 | LF | 0 | 0 | 0 | 0 | 0 | 0
9 | P2.00 |  |  | 1/2" Hot Water Riser - Underground | 12 | 10% | 13.2 | LF | 0 | 0 | 0 | 0 | 0 | 0
10 | P2.00 |  |  | 3/4" Hot Water Riser - Underground | 3 | 10% | 3.3 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONNECTIONS
11 | P1.00 |  |  | Elbow 1/2"-1/2" | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0
12 | P1.00 |  |  | Elbow 3/4"-3/4" | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
13 | P1.00 |  |  | Elbow 1 1/2"-1 1/2" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
14 | P1.00 |  |  | Tee 3/4"-1/2"-1/2" | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
ABOVEGROUND
HORIZONTAL PIPING
15 | P1.00 |  |  | 1/2" Cold Water Line | 126.1 | 10% | 138.71 | LF | 0 | 0 | 0 | 0 | 0 | 0
16 | P1.00 |  |  | 3/4" Cold Water Line | 131.6 | 10% | 144.76 | LF | 0 | 0 | 0 | 0 | 0 | 0
17 | P1.00 |  |  | 1" Cold Water Line | 22.8 | 10% | 25.08 | LF | 0 | 0 | 0 | 0 | 0 | 0
18 | P1.00 |  |  | 1-1/2" Cold Water Line | 13.4 | 10% | 14.74 | LF | 0 | 0 | 0 | 0 | 0 | 0
19 | P1.00 |  |  | 1/2" Hot Water Line | 59.5 | 10% | 65.45 | LF | 0 | 0 | 0 | 0 | 0 | 0
20 | P1.00 |  |  | 3/4" Hot Water Line | 143.3 | 10% | 157.63 | LF | 0 | 0 | 0 | 0 | 0 | 0
RISERS
21 | P2.00 |  |  | 1/2" Cold Water Riser | 200 | 10% | 220 | LF | 0 | 0 | 0 | 0 | 0 | 0
22 | P2.00 |  |  | 3/4" Cold Water Riser | 18 | 10% | 19.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
23 | P2.00 |  |  | 1-1/2" Cold Water Riser | 10 | 10% | 11 | LF | 0 | 0 | 0 | 0 | 0 | 0
24 | P2.00 |  |  | 1/2" Hot Water Riser | 117 | 10% | 128.7 | LF | 0 | 0 | 0 | 0 | 0 | 0
25 | P2.00 |  |  | 3/4" Hot Water Riser | 8 | 10% | 8.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
INSULATION
26 | P1.00-P2.00 |  |  | R-3 Type Insulation Hot And Cold Water Pipes. | 850 | 10% | 935 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONNECTIONS
27 | P1.00 |  |  | Elbow 1/2"-1/2" | 98 | 0% | 98 | EA | 0 | 0 | 0 | 0 | 0 | 0
28 | P1.00 |  |  | Elbow 3/4"-3/4" | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
29 | P1.00 |  |  | Tee 1/2"-1/2"-1/2" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
30 | P1.00 |  |  | Tee 3/4"-1/2"-1/2" | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0
31 | P1.00 |  |  | Tee 3/4"-3/4"-1/2" | 26 | 0% | 26 | EA | 0 | 0 | 0 | 0 | 0 | 0
32 | P1.00 |  |  | Tee 3/4"-3/4"-3/4" | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
33 | P1.00 |  |  | Tee 1 1/2"-1 1/2"-1/2" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
34 | P1.00 |  |  | Tee 1 1/2"-1"-3/4" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
35 | P1.00 |  |  | Tee 1"-3/4"-1/2" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
FIXTURES
36 | P2.00 |  |  | 1/2" Shutoff Valve | 44 | 0% | 44 | EA | 0 | 0 | 0 | 0 | 0 | 0
37 | P2.00 |  |  | 3/4" Shutoff Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
38 | P2.00 |  |  | 1-1/2" Shutoff Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
39 | P2.00 |  |  | 3/4" Drain Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
40 | P2.00 |  |  | 3/4" Temperature & Pressure Relief Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
41 | P2.00 |  |  | 1/2" Hose Bib | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
42 | P2.00 |  |  | 1/2" Thermostatic Mixing Valve | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | 0 | 0
43 | P2.00 | P2.00 |  | Water Heater Mfr./Model: American PG-10-50-199-3NV | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
SLEEVES
44 | P1.00-P2.00 |  |  | Water Sleeve Through Floor | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
45 | P1.00-P2.00 |  |  | Water Sleeve Through Wall | 18 | 0% | 18 | EA | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Domestic Water Sub Total | [6 empty] | 0 | 0 |  |  | 0
SANITARY/WASTE SYSTEM
Piping Material: Not Speicified On Plans Assumptions: Cast Iron Pipe Single Hub Service Weight, Lead and Oakum Joints
UNDERGROUND
HORIZONTAL PIPING
46 | P3.00 |  |  | 2" Sanitary Line - Underground | 97.5 | 10% | 107.25 | LF | 0 | 0 | 0 | 0 | 0 | 0
47 | P3.00 |  |  | 3" Sanitary Line - Underground | 242.8 | 10% | 267.08 | LF | 0 | 0 | 0 | 0 | 0 | 0
48 | P3.00 |  |  | 4" Sanitary Line - Underground | 4.3 | 10% | 4.73 | LF | 0 | 0 | 0 | 0 | 0 | 0
49 | P3.00 |  |  | 2" Vent Line - Underground | 2 | 10% | 2.2 | LF | 0 | 0 | 0 | 0 | 0 | 0
RISERS
50 | P4.00 |  |  | 2" Sanitary Riser - Underground | 51 | 10% | 56.1 | LF | 0 | 0 | 0 | 0 | 0 | 0
51 | P4.00 |  |  | 3" Sanitary Riser - Underground | 18 | 10% | 19.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
52 | P4.00 |  |  | 2" Vent Riser - Underground | 39 | 10% | 42.9 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONNECTIONS
53 | P3.00 |  |  | Reducer 4"-3" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
54 | P3.00 |  |  | Elbow 2"-2" | 35 | 0% | 35 | EA | 0 | 0 | 0 | 0 | 0 | 0
55 | P3.00 |  |  | Elbow 3"-3" | 24 | 0% | 24 | EA | 0 | 0 | 0 | 0 | 0 | 0
56 | P3.00 |  |  | Tee 2"-2"-2" | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
57 | P3.00 |  |  | Tee 3"-3"-2" | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
58 | P3.00 |  |  | Wye 3"-2"-2" | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
59 | P3.00 |  |  | Wye 3"-3"-2" | 12 | 0% | 12 | EA | 0 | 0 | 0 | 0 | 0 | 0
60 | P3.00 |  |  | Wye 3"-3"-3" | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
ABOVEGROUND
HORIZONTAL PIPING
61 | P3.00 |  |  | 2" Sanitary Line | 6.11 | 10% | 6.721 | LF | 0 | 0 | 0 | 0 | 0 | 0
62 | P3.00 |  |  | 2" Vent Line | 100.9 | 10% | 110.99 | LF | 0 | 0 | 0 | 0 | 0 | 0
RISERS
63 | P4.00 |  |  | 2" Sanitary Riser | 33 | 10% | 36.3 | LF | 0 | 0 | 0 | 0 | 0 | 0
64 | P4.00 |  |  | 2" Vent Riser | 220 | 10% | 242 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONNECTIONS
65 | P3.00 |  |  | Elbow 2"-2" | 34 | 0% | 34 | EA | 0 | 0 | 0 | 0 | 0 | 0
66 | P3.00 |  |  | Tee 2"-2"-2" | 23 | 0% | 23 | EA | 0 | 0 | 0 | 0 | 0 | 0
FIXTURES
67 | P4.00 |  |  | 2" Cheater Vent | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
68 | P4.00 |  |  | 2" CO: Clean Out | 11 | 0% | 11 | EA | 0 | 0 | 0 | 0 | 0 | 0
69 | P4.00 |  |  | 2" VTR: Vent Through Roof | 9 | 0% | 9 | EA | 0 | 0 | 0 | 0 | 0 | 0
70 | P4.00 |  |  | Lavatory Assumed Specs: American Standard: 0315000.020 | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
71 | P4.00 |  |  | Water Closet Assumed Specs: American Standard:2989101.02 | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0
72 | P4.00 |  |  | Kitchen Sink Assumed Specs: Kraus KHU102-33 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
73 | P4.00 |  |  | Clothes Washer Box Assumed Specs: EFIELD Washing Machine Outlet Box with Center Drain 1/2-inch Push-Fit White, with Stainless Water Hammer Arrestor | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
74 | P4.00 |  |  | Shower Assumed Specs: American Standard 9038804.002 Spectra Versa Shower System | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
75 | P4.00 |  |  | Bathtub Assumed Specs: American Standard 2973202.011 Studio Integral Apron Bathtub Left Drain 60 in. x 30 in. in Arctic White | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
SLEEVES
76 | P3.00 |  |  | Sanitary Sleeve Through Floor | 23 | 0% | 23 | EA | 0 | 0 | 0 | 0 | 0 | 0
77 | P4.00 |  |  | Sanitary Sleeve Through Wall | 32 | 0% | 32 | EA | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Sanitary/Waste Sub Total | [6 empty] | 0 | 0 |  |  | 0
GAS SYSTEM
Piping Material: Not Speicified On Plans Assumptions: Black Iron Pipe
UNDERGROUND
HORIZONTAL PIPING
78 | G1.00 |  |  | 2-1/2" Gas Line - Underground | 2 | 10% | 2.2 | LF | 0 | 0 | 0 | 0 | 0 | 0
RISERS
79 | G2.00 |  |  | 2-1/2" Gas Riser - Underground | 3 | 10% | 3.3 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONNECTIONS
80 | G1.00 |  |  | Elbow 2 1/2"-2 1/2" | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
ABOVEGROUND
HORIZONTAL PIPING
81 | G1.00 |  |  | 1/2" Gas Line | 1 | 10% | 1.1 | LF | 0 | 0 | 0 | 0 | 0 | 0
82 | G1.00 |  |  | 3/4" Gas Line | 1.4 | 10% | 1.54 | LF | 0 | 0 | 0 | 0 | 0 | 0
83 | G1.00 |  |  | 1" Gas Line | 1 | 10% | 1.1 | LF | 0 | 0 | 0 | 0 | 0 | 0
84 | G1.00 |  |  | 1-1/2" Gas Line | 1 | 10% | 1.1 | LF | 0 | 0 | 0 | 0 | 0 | 0
85 | G1.00 |  |  | 2" Gas Line | 1 | 10% | 1.1 | LF | 0 | 0 | 0 | 0 | 0 | 0
86 | G1.00 |  |  | 2-1/2" Gas Line | 168.86 | 10% | 185.746 | LF | 0 | 0 | 0 | 0 | 0 | 0
RISERS
87 | G2.00 |  |  | 1/2" Gas Riser | 8 | 10% | 8.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
88 | G2.00 |  |  | 3/4" Gas Riser | 14 | 10% | 15.4 | LF | 0 | 0 | 0 | 0 | 0 | 0
89 | G2.00 |  |  | 1" Gas Riser | 8 | 10% | 8.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
90 | G2.00 |  |  | 1-1/2" Gas Riser | 8 | 10% | 8.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
91 | G2.00 |  |  | 2" Gas Riser | 8 | 10% | 8.8 | LF | 0 | 0 | 0 | 0 | 0 | 0
92 | G2.00 |  |  | 2-1/2" Gas Riser | 10 | 10% | 11 | LF | 0 | 0 | 0 | 0 | 0 | 0
CONNECTIONS
93 | G1.00 |  |  | Elbow 1/2"-1/2" | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
94 | G1.00 |  |  | Elbow 3/4"-3/4" | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
95 | G1.00 |  |  | Elbow 1 1/2"-1 1/2" | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
96 | G1.00 |  |  | Elbow 1"-1" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
97 | G1.00 |  |  | Elbow 2 1/2"-3/4" | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
98 | G1.00 |  |  | Elbow 2 1/2"-2" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
99 | G1.00 |  |  | Elbow 2 1/2"-2 1/2" | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
100 | G1.00 |  |  | Elbow 2"-2" | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
101 | G1.00 |  |  | Tee 2 1/2"-2 1/2"-1/2" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
102 | G1.00 |  |  | Tee 2 1/2"-2 1/2"-3/4" | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
103 | G1.00 |  |  | Tee 2 1/2"-2 1/2"-1" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
104 | G1.00 |  |  | Tee 2 1/2"-2 1/2"-1 1/2" | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
105 | G1.00 |  |  | Tee 2 1/2"-2 1/2"-2 1/2" | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
FIXTURES
106 | G2.00 |  |  | 1/2" Gas Shutoff Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
107 | G2.00 |  |  | 3/4" Gas Shutoff Valve | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
108 | G2.00 |  |  | 1" Gas Shutoff Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
109 | G2.00 |  |  | 1-1/2" Gas Shutoff Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
110 | G2.00 |  |  | 2" Gas Shutoff Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
111 | G2.00 |  |  | 2-1/2" Gas Shutoff Valve | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
112 | G2.00 |  |  | 2-1/2" Gas Meter | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
SLEEVES
113 | G2.00 |  |  | Gas Sleeve Through Floor | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
114 | G1.00 |  |  | Gas Sleeve Through Wall | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gas Sub Total | [6 empty] | 0 | 0 |  |  | 0
TRENCHING
115 |  |  |  | Excavation Assumed Width: 1'-6" Assumed Depth: 4'-0" | 119.0222 | 10% | 130.9244 | CY | 0 | 0 | 0 | 0 | 0 | 0
116 |  |  |  | Backfilling | 119.0222 | 10% | 130.9244 | CY | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Trenching Sub Total | [6 empty] | 0 | 0 |  |  | 0
SUB - TOTAL | [13 empty] | 0 | 0
OVERHEAD AND PROFIT | [12 empty] | 15% | 0
CONTINGENCY | [12 empty] | 3% | 0
TOTAL BASE BID - PLUMBING | [13 empty] | 0