## PRICE BREAKDOWN
PROJECT ID: City Of Port ST. Lucie Public Works Building
ADDRESS: 1501 SW Cameo BLVD . Port St. Lucie , FL 34953 | [10 empty] | WEBSITE: | www.msbestimating.com
[11 empty] | E-MAIL ADDRESS: | estimate@msbestimating.com
SCOPE: Low Voltage | [10 empty] | PHONE NUMBER:
[11 empty] | Date: | 2026-05-09
ITEM # | DWG REF./ CSI SEC. | DESCRIPTION | QUANTITY | WASTAGE | QTY W/WASTAGE | UNIT | MAT COST | TOTAL MAT COST | NO. OF LABORS | TYPE OF LABOR | PER HOUR LABOR WAGE | LABOR FACTOR | TOTAL LABOR HOURS | TOTAL LABOR COST | UNIT COST | TOTAL COST | TRADE COST
| DIV. 01 | GENERAL REQUIREMENTS
1 |  | Project Manager | 1 | 0% | 1 | LS | 0 | 0 | 1 | CARP | 35 | 0 | 0 | 0 | 0
2 |  | Field Superintendent | 1 | 0% | 1 | LS | 0 | 0 | 1 | CARP | 35 | 0 | 0 | 0 | 0
3 |  | Bonds | 1 | 0% | 1 | LS | 0 | 0 | 1 | CARP | 35 | 0 | 0 | 0 | 0
4 |  | Permitting | 1 | 0% | 1 | LS | 0 | 0 | 1 | CARP | 35 | 0 | 0 | 0 | 0
5 |  | Mobilization Cost | 1 | 0% | 1 | LS | 0 | 0 | 1 | CARP | 35 | 0 | 0 | 0 | 0
6 |  | Temp Fencing, Toilets, Utilities | 1 | 0% | 1 | LS | 0 | 0 | 1 | CARP | 35 | 0 | 0 | 0 | 0
7 |  | Jobsite Signage, Trailer, Security | 1 | 0% | 1 | LS | 0 | 0 | 1 | CARP | 35 | 0 | 0 | 0 | 0
8 |  | Dumpsters, Tools | 1 | 0% | 1 | LS | 0 | 0 | 1 | CARP | 35 | 0 | 0 | 0 | 0
9 |  | Clean-up | 1 | 0% | 1 | LS | 0 | 0 | 1 | CARP | 35 | 0 | 0 | 0 | 0
10 |  | Procore, Web Cameras | 1 | 0% | 1 | LS | 0 | 0 | 1 | CARP | 35 | 0 | 0 | 0 | 0
|  | Subtotal (General Requirements) |  |  |  | TOTAL MAT COST: |  | 0 |  |  |  |  | LABOR COST | 0 |  |  | 0
DIVISION 27-COMMUNICATION
Camera
11 | LV-101 TO LV-402 | 18: 180 Degree Axis Camera | 4 | 0% | 4 | EA | 865 | 3460 | 1 | COMM | 73.7485 | 2.866 | 11.464 | 845.4528 | 1076.3632 | 4305.4528
12 |  | 360: 360 Degree Axis Camera | 13 | 0% | 13 | EA | 575.4 | 7480.2 | 1 | COMM | 73.7485 | 2.911 | 37.843 | 2790.8645 | 790.0819 | 10271.0645
13 |  | Exterior Weatherproof Rated Axis Camera | 5 | 0% | 5 | EA | 399 | 1995 | 1 | COMM | 73.7485 | 3.118 | 15.59 | 1149.7391 | 628.9478 | 3144.7391
14 |  | Wall Mounted IP Axis Camera | 34 | 0% | 34 | EA | 295.62 | 10051.08 | 1 | COMM | 73.7485 | 2.556 | 86.904 | 6409.0396 | 484.1212 | 16460.1196
15 |  | Weatherproof Rated 360 Degree Axis Camera | 2 | 0% | 2 | EA | 978.12 | 1956.24 | 1 | COMM | 73.7485 | 3.522 | 7.044 | 519.4844 | 1237.8622 | 2475.7244
16 |  | Camera Multihead 4X 5MP Corner Mounted W/ 1 Gang Box | 4 | 0% | 4 | EA | 2710 | 10840 | 1 | COMM | 65 | 2.25 | 9 | 585 | 2856.25 | 11425
17 |  | Camera Multihead 4X 5MP Pole Mounted W/ 1 Gang Box | 1 | 0% | 1 | EA | 2710 | 2710 | 1 | COMM | 65 | 2.25 | 2.25 | 146.25 | 2856.25 | 2856.25
18 |  | Camera Multihead 4X 5MP Wall Mounted W/ 1 Gang Box | 1 | 0% | 1 | EA | 2710 | 2710 | 1 | COMM | 65 | 2.25 | 2.25 | 146.25 | 2856.25 | 2856.25
19 |  | CR: Card Reader W/ 1 Gang Box | 21 | 0% | 21 | EA | 93 | 1953 | 1 | COMM | 65 | 0.87 | 18.27 | 1187.55 | 149.55 | 3140.55
20 |  | D12: Camera Mini-Dome Ceiling Mounted, Wall Mounted W/ 1 Gang Box | 10 | 0% | 10 | EA | 489 | 4890 | 1 | COMM | 65 | 1.429 | 14.2898 | 928.8338 | 581.8834 | 5818.8337
Card Reader
21 |  | CR B: Card Reader W/ Biometric Finger Reader | 1 | 0% | 1 | EA | 863.9 | 863.9 | 1 | COMM | 73.7485 | 3.896 | 3.896 | 287.3242 | 1151.2242 | 1151.2242
22 |  | CR P: Card Reader W/ Pin Pad | 2 | 0% | 2 | EA | 300.12 | 600.24 | 1 | COMM | 73.7485 | 1.556 | 3.112 | 229.5053 | 414.8727 | 829.7453
23 |  | CR: Card Reader | 35 | 0% | 35 | EA | 175.26 | 6134.1 | 1 | COMM | 73.7485 | 1.021 | 35.735 | 2635.4026 | 250.5572 | 8769.5026
Station
24 |  | IC M: Master Intercom Station | 1 | 0% | 1 | EA | 956.63 | 956.63 | 1 | COMM | 73.7485 | 2.865 | 2.865 | 211.2895 | 1167.9195 | 1167.9195
25 |  | IC S: Intercom Substation | 1 | 0% | 1 | EA | 351.23 | 351.23 | 1 | COMM | 73.7485 | 1.256 | 1.256 | 92.6281 | 443.8581 | 443.8581
26 |  | IC V: Video Intercom Station Wall Mounted | 1 | 0% | 1 | EA | 746.89 | 746.89 | 1 | COMM | 73.7485 | 2.019 | 2.019 | 148.8982 | 895.7882 | 895.7882
PROJECT ID: City Of Port ST. Lucie Public Works Building
ADDRESS: 1501 SW Cameo BLVD . Port St. Lucie , FL 34953 | [10 empty] | WEBSITE: | www.msbestimating.com
[11 empty] | E-MAIL ADDRESS: | estimate@msbestimating.com
SCOPE: Low Voltage | [10 empty] | PHONE NUMBER:
[11 empty] | Date: | 2026-05-09
ITEM # | DWG REF./ CSI SEC. | DESCRIPTION | QUANTITY | WASTAGE | QTY W/WASTAGE | UNIT | MAT COST | TOTAL MAT COST | NO. OF LABORS | TYPE OF LABOR | PER HOUR LABOR WAGE | LABOR FACTOR | TOTAL LABOR HOURS | TOTAL LABOR COST | UNIT COST | TOTAL COST | TRADE COST
| DIV. 01 | GENERAL REQUIREMENTS
| LV-101 TO LV-402 | Panel
27 |  | Access Control Panel | 1 | 0% | 1 | EA | 1200 | 1200 | 1 | COMM | 73.7485 | 5.566 | 5.566 | 410.4842 | 1610.4842 | 1610.4842
28 |  | BMS System Control Panel | 1 | 0% | 1 | EA | 3816.4 | 3816.4 | 1 | COMM | 73.7485 | 8.569 | 8.569 | 631.9509 | 4448.3509 | 4448.3509
Low Voltage Items
29 |  | DR: Door Release | 2 | 0% | 2 | EA | 101.39 | 202.78 | 1 | COMM | 73.7485 | 1.086 | 2.172 | 160.1817 | 181.4809 | 362.9617
30 |  | Ground Bar | 5 | 0% | 5 | EA | 150.25 | 751.25 | 1 | COMM | 73.7485 | 1.55 | 7.75 | 571.5509 | 264.5602 | 1322.8009
31 |  | L: Remote Lockdown Button/Switch | 9 | 0% | 9 | EA | 121.5 | 1093.5 | 1 | COMM | 73.7485 | 1.413 | 12.717 | 937.8597 | 225.7066 | 2031.3597
32 |  | Access Control Head End For Elevator Cab | 2 | 0% | 2 | EA | 950 | 1900 | 1 | COMM | 73.7485 | 4.026 | 8.052 | 593.8229 | 1246.9115 | 2493.8229
33 |  | WAP: 2 Port Data - Wireless Access Point - Cisco Meraki # CW9178I. | 26 | 0% | 26 | EA | 1356.28 | 35263.28 | 1 | COMM | 73.7485 | 1.861 | 48.386 | 3568.3949 | 1493.526 | 38831.6749
34 |  | Access Control Headend | 3 | 0% | 3 | EA | 2516.38 | 7549.14 | 1 | COMM | 73.7485 | 8.012 | 24.036 | 1772.6189 | 3107.253 | 9321.7589
35 |  | 24"Wx4"H Ladder Tray MTD | 137 | 0% | 137 | LF | 18.12 | 2482.44 | 1 | COMM | 73.7485 | 0.357 | 48.909 | 3606.9654 | 44.4482 | 6089.4054
36 |  | 89"H X 22"W 2 Post Equipment Rack | 16 | 0% | 16 | EA | 354.6 | 5673.6 | 1 | COMM | 73.7485 | 2.586 | 41.376 | 3051.4179 | 545.3136 | 8725.0179
37 |  | 1- 48-Port Network Switch Similar To Unifi USW-PRO-48-POE. | 57 | 0% | 57 | EA | 1099.7 | 62682.9 | 1 | COMM | 73.7485 | 1.236 | 70.452 | 5195.7293 | 1190.8531 | 67878.6293
38 |  | 2- 48-Port Patch Panel Similar To Belen AX103121. | 179 | 0% | 179 | EA | 75.16 | 13453.64 | 1 | COMM | 73.7485 | 2.665 | 477.035 | 35180.6157 | 271.6998 | 48634.2557
39 |  | 3- Vertical PDU Similar To Trip Lite PDUMV30. | 51 | 0% | 51 | EA | 456.35 | 23273.85 | 1 | COMM | 73.7485 | 0.522 | 26.622 | 1963.3326 | 494.8467 | 25237.1826
40 |  | 4- 2-RU Horizontal Cabel Manager Similar To Belden BHH192UR. | 3 | 0% | 3 | EA | 65.35 | 196.05 | 1 | COMM | 73.7485 | 0.258 | 0.774 | 57.0813 | 84.3771 | 253.1313
41 |  | 5- Network Video Recorder Similar To Husky IVO 1000. | 3 | 0% | 3 | EA | 17400.23 | 52200.69 | 1 | COMM | 73.7485 | 3.566 | 10.698 | 788.9615 | 17663.2172 | 52989.6515
42 |  | 7- Network Manager Similar To Unifi UDM-PRO. | 6 | 0% | 6 | EA | 379.23 | 2275.38 | 1 | COMM | 73.7485 | 1.55 | 9.3 | 685.8611 | 493.5402 | 2961.2411
43 |  | 8- 6" Vertical Cabel Manager. | 12 | 0% | 12 | EA | 185.36 | 2224.32 | 1 | COMM | 73.7485 | 0.758 | 9.096 | 670.8164 | 241.2614 | 2895.1364
44 |  | 89"HX48"W 4 Post Wide Equipment Rack | 2 | 0% | 2 | EA | 856.91 | 1713.82 | 1 | COMM | 73.7485 | 3.504 | 7.008 | 516.8295 | 1115.3247 | 2230.6495
45 |  | 89"hx22"W 4 Post Standard Equipment Rack. | 20 | 0% | 20 | EA | 551.23 | 11024.6 | 1 | COMM | 73.7485 | 3.105 | 62.1 | 4579.7819 | 780.2191 | 15604.3819
46 |  | 4" Conduits For Data Center Fiber Connection | 103.09 | 10% | 113.399 | LF | 0.17 | 19.2778 | 1 | COMM | 73.7485 | 1.312 | 148.7795 | 10972.2641 | 96.928 | 10991.5419
47 |  | 4"x4"x2-1/8" Single Gang Electrical Box w/ Mud Ring For Car Reader | 2 | 0% | 2 | EA | 6.24 | 12.48 | 1 | COMM | 73.7485 | 0.345 | 0.69 | 50.8865 | 31.6832 | 63.3665
48 |  | 4"x4"x2-1/8" Junction Box | 6 | 0% | 6 | EA | 4.62 | 27.72 | 1 | COMM | 73.7485 | 0.256 | 1.536 | 113.2777 | 23.4996 | 140.9977
49 |  | Magnetic Door Contact | 1 | 0% | 1 | EA | 21.35 | 21.35 | 1 | COMM | 73.7485 | 0.756 | 0.756 | 55.7539 | 77.1039 | 77.1039
50 |  | Access Control Head End | 3 | 0% | 3 | EA | 2501.67 | 7505.01 | 1 | COMM | 73.7485 | 8.015 | 24.045 | 1773.2827 | 3092.7642 | 9278.2927
51 |  | FA- Relay: Fire Alarm Relay For Door Lock Override. | 3 | 0% | 3 | EA | 43.35 | 130.05 | 1 | COMM | 73.7485 | 0.696 | 2.088 | 153.9869 | 94.679 | 284.0369
52 |  | JB: Junction Box | 4 | 0% | 4 | EA | 11.25 | 45 | 1 | COMM | 73.7485 | 0.502 | 2.008 | 148.087 | 48.2717 | 193.087
53 |  | RTE: Request To Exit | 4 | 0% | 4 | EA | 112.35 | 449.4 | 1 | COMM | 73.7485 | 1.205 | 4.82 | 355.4678 | 201.2169 | 804.8678
54 |  | EL: Electric Lock | 4 | 0% | 4 | EA | 376.6 | 1506.4 | 1 | COMM | 73.7485 | 2.566 | 10.264 | 756.9546 | 565.8387 | 2263.3546
55 |  | DC: Door Controller | 4 | 0% | 4 | EA | 601.25 | 2405 | 1 | COMM | 73.7485 | 2.015 | 8.06 | 594.4129 | 749.8532 | 2999.4129
56 |  | Door-PS: Door Lock Power Supply. | 3 | 0% | 3 | EA | 412.26 | 1236.78 | 1 | COMM | 73.7485 | 1.966 | 5.898 | 434.9687 | 557.2496 | 1671.7487
57 |  | 12"x4" Cable Tray | 125.81 | 10% | 138.391 | LF | 12.2 | 1688.3702 | 1 | COMM | 65 | 0.083237 | 11.5192 | 748.75 | 17.6104 | 2437.1202
58 |  | Ceiling Mounted Tv Bracket | 36.38 | 10% | 40.018 | LF | 24.45 | 978.4401 | 1 | COMM | 65 | 0.11826 | 4.7325 | 307.6144 | 32.1369 | 1286.0545
PROJECT ID: City Of Port ST. Lucie Public Works Building
ADDRESS: 1501 SW Cameo BLVD . Port St. Lucie , FL 34953 | [10 empty] | WEBSITE: | www.msbestimating.com
[11 empty] | E-MAIL ADDRESS: | estimate@msbestimating.com
SCOPE: Low Voltage | [10 empty] | PHONE NUMBER:
[11 empty] | Date: | 2026-05-09
ITEM # | DWG REF./ CSI SEC. | DESCRIPTION | QUANTITY | WASTAGE | QTY W/WASTAGE | UNIT | MAT COST | TOTAL MAT COST | NO. OF LABORS | TYPE OF LABOR | PER HOUR LABOR WAGE | LABOR FACTOR | TOTAL LABOR HOURS | TOTAL LABOR COST | UNIT COST | TOTAL COST | TRADE COST
| DIV. 01 | GENERAL REQUIREMENTS
59 | LV-101 TO LV-402 | Vertical Cable Manager | 34.07 | 10% | 37.477 | LF | 36.87 | 1381.777 | 1 | COMM | 65 | 0.05913 | 2.216 | 144.041 | 40.7135 | 1525.818
60 |  | 12" Vetrical Cable Manager | 2 | 0% | 2 | EA | 1035.63 | 2071.26 | 1 | COMM | 65 | 0.73913 | 1.4783 | 96.0863 | 1083.6731 | 2167.3463
61 |  | 2'-0"x3'-0" AV Rack | 1 | 0% | 1 | EA | 655.4 | 655.4 | 1 | COMM | 65 | 5.913 | 5.913 | 384.345 | 1039.745 | 1039.745
62 |  | 2'-0"x3'-0" ICT Rack | 2 | 0% | 2 | EA | 348.99 | 697.98 | 1 | COMM | 65 | 6.4058 | 12.8115 | 832.7475 | 765.3637 | 1530.7275
63 |  | 4" Conduits For Data Center Fiber Connection | 25 | 0% | 25 | EA | 98.3 | 2457.5 | 1 | COMM | 65 | 1.4783 | 36.9563 | 2402.1563 | 194.3862 | 4859.6562
64 |  | 4" Vetrical Cable Manager | 4 | 0% | 4 | EA | 189.65 | 758.6 | 1 | COMM | 65 | 0.9855 | 3.942 | 256.23 | 253.7075 | 1014.83
65 |  | 6" Vetrical Cable Manager | 2 | 0% | 2 | EA | 553 | 1106 | 1 | COMM | 65 | 0.88695 | 1.7739 | 115.3035 | 610.6517 | 1221.3035
66 |  | AV Base Mounted Rack (42U 24"Wx30"D) | 4 | 0% | 4 | EA | 2220.3 | 8881.2 | 1 | COMM | 65 | 5.371 | 21.4839 | 1396.4535 | 2569.4134 | 10277.6535
67 |  | AV Rack | 8 | 0% | 8 | EA | 1346.88 | 10775.04 | 1 | COMM | 65 | 3.0156 | 24.125 | 1568.1276 | 1542.896 | 12343.1676
68 |  | AVKP: AV Keypad Wall Mounted | 23 | 0% | 23 | EA | 336.05 | 7729.15 | 1 | COMM | 65 | 1.1826 | 27.1998 | 1767.987 | 412.919 | 9497.137
69 |  | AVTP: Av Touch Pad Wall Mounted | 2 | 0% | 2 | EA | 774 | 1548 | 1 | COMM | 65 | 1.971 | 3.942 | 256.23 | 902.115 | 1804.23
70 |  | DISP: Display | 16 | 0% | 16 | EA | 595 | 9520 | 1 | COMM | 65 | 1.8527 | 29.6438 | 1926.8496 | 715.4281 | 11446.8496
71 |  | Ess Wall Mounted Cabinet (24"Hx20"Wx7"D) | 3 | 0% | 3 | EA | 167.26 | 501.78 | 1 | COMM | 65 | 1.0348 | 3.1043 | 201.7811 | 234.5204 | 703.5611
72 |  | Ess Wall Mounted Cabinet (36"Hx30"Wx7"D) | 4 | 0% | 4 | EA | 428.9 | 1715.6 | 1 | COMM | 65 | 1.4635 | 5.8539 | 380.5016 | 524.0254 | 2096.1015
73 |  | ICT Rack | 3 | 0% | 3 | EA | 615.99 | 1847.97 | 1 | COMM | 65 | 2.4145 | 7.2434 | 470.8226 | 772.9309 | 2318.7926
74 |  | ICT Wall Mounted Cabinet (6U 24"Wx24"D) | 4 | 0% | 4 | EA | 615.99 | 2463.96 | 1 | COMM | 65 | 2.4145 | 9.6579 | 627.7635 | 772.9309 | 3091.7235
75 |  | ICT Wall Mounted Cabinet (6U 24"Wx30"D) | 2 | 10% | 2.2 | LF | 648 | 1425.6 | 1 | COMM | 65 | 2.7988 | 6.1574 | 400.2313 | 829.9233 | 1825.8313
76 |  | Speaker | 1 | 0% | 1 | EA | 219 | 219 | 1 | COMM | 65 | 1.1136 | 1.1136 | 72.385 | 291.385 | 291.385
77 |  | SPK1: Wall Mounted Av Speaker W/ 2 Gang Junction Box | 31 | 0% | 31 | EA | 195.74 | 6067.94 | 1 | COMM | 65 | 1.2319 | 38.1881 | 2482.2281 | 275.8119 | 8550.1681
78 |  | SPK2: Wall Mounted Array Speaker W Bracket W/ 2 Gang Junction Box | 2 | 0% | 2 | EA | 345.75 | 691.5 | 1 | COMM | 65 | 1.7345 | 3.469 | 225.4824 | 458.4912 | 916.9824
79 |  | SPK3 : Ceiling Mounted Av Speaker W/ 2 Gang Junction Box | 10 | 0% | 10 | EA | 345.75 | 3457.5 | 1 | COMM | 65 | 1.3206 | 13.2057 | 858.3705 | 431.587 | 4315.8705
80 |  | SPL1 : Landscape Av Speaker Outdoor, On-Ground | 42 | 0% | 42 | EA | 369 | 15498 | 1 | COMM | 65 | 1.4783 | 62.0865 | 4035.6225 | 465.0863 | 19533.6225
81 |  | SUB : Subwoofer Ceiling Mount, Pendant w/ 2 Gang Junction Box | 3 | 0% | 3 | EA | 528.99 | 1586.97 | 1 | COMM | 65 | 1.7739 | 5.3217 | 345.9105 | 644.2935 | 1932.8805
82 |  | WAP: Wirless Access Point, Outdoor, Bollard | 16 | 0% | 16 | EA | 159.99 | 2559.84 | 1 | COMM | 65 | 1.2023 | 19.237 | 1250.4024 | 238.1402 | 3810.2424
83 |  | WAP: Wirless Access Point, Outdoor, Wall Mounted | 7 | 0% | 7 | EA | 159.99 | 1119.93 | 1 | COMM | 65 | 1.1826 | 8.2782 | 538.083 | 236.859 | 1658.013
Outlet Items
84 |  | 2 Port Multiuse Data/Voice Floor Outlet. | 33 | 0% | 33 | EA | 182.35 | 6017.55 | 1 | COMM | 73.7485 | 1.235 | 40.755 | 3005.6201 | 273.4294 | 9023.1701
85 |  | 2 Port Multiuse Data/Voice Outlet. | 322 | 0% | 322 | EA | 26.34 | 8481.48 | 1 | COMM | 73.7485 | 0.855 | 275.31 | 20303.6995 | 89.395 | 28785.1795
86 |  | 4 Port Multiuse Data/Voice Floor Outlet | 16 | 0% | 16 | EA | 225.23 | 3603.68 | 1 | COMM | 73.7485 | 2.122 | 33.952 | 2503.9091 | 381.7243 | 6107.5891
87 |  | TV: Single Gang Wall Mounted TV Outlet | 64 | 0% | 64 | EA | 35.69 | 2284.16 | 1 | COMM | 73.7485 | 1.522 | 97.408 | 7183.6939 | 147.9352 | 9467.8539
88 |  | Data Outlet | 17 | 0% | 17 | EA | 14.25 | 242.25 | 1 | COMM | 65 | 0.18 | 3.06 | 198.9 | 25.95 | 441.15
89 |  | TV: Tv Outlet | 12 | 0% | 12 | EA | 16.04 | 192.48 | 1 | COMM | 65 | 0.2 | 2.4 | 156 | 29.04 | 348.48
PROJECT ID: City Of Port ST. Lucie Public Works Building
ADDRESS: 1501 SW Cameo BLVD . Port St. Lucie , FL 34953 | [10 empty] | WEBSITE: | www.msbestimating.com
[11 empty] | E-MAIL ADDRESS: | estimate@msbestimating.com
SCOPE: Low Voltage | [10 empty] | PHONE NUMBER:
[11 empty] | Date: | 2026-05-09
ITEM # | DWG REF./ CSI SEC. | DESCRIPTION | QUANTITY | WASTAGE | QTY W/WASTAGE | UNIT | MAT COST | TOTAL MAT COST | NO. OF LABORS | TYPE OF LABOR | PER HOUR LABOR WAGE | LABOR FACTOR | TOTAL LABOR HOURS | TOTAL LABOR COST | UNIT COST | TOTAL COST | TRADE COST
| DIV. 01 | GENERAL REQUIREMENTS
| LV-100 | Wiring & Conduits
90 |  | 1 Pair UTP Speaker Cabel | 2539.84 | 10% | 2793.824 | LF | 1.2814 | 3580.062 | 1 | COMM | 73.7485 | 0.068 | 189.98 | 14010.7424 | 6.2963 | 17590.8043
91 |  | 18/2C Cable With 3/4" Conduit - Assumed | 613.76 | 10% | 675.136 | LF | 1.43 | 965.4445 | 1 | COMM | 73.7485 | 0.063 | 42.5336 | 3136.7868 | 6.0762 | 4102.2313
92 |  | 18/2C Cable With 3/4" EMT Conduit | 255.45 | 10% | 280.995 | LF | 1.308 | 367.5415 | 1 | COMM | 73.7485 | 0.079 | 22.1986 | 1637.1138 | 7.1341 | 2004.6553
93 |  | 22/6C Cable With 3/4" Dia Conduit | 1057.85 | 10% | 1163.635 | LF | 1.24 | 1442.9074 | 1 | COMM | 65 | 0.04 | 46.5454 | 3025.451 | 3.84 | 4468.3584
94 |  | Cat 6A Cabel W/ Conduit | 10923 | 10% | 12015.3 | LF | 0.6 | 7209.18 | 1 | COMM | 65 | 0.006 | 72.0918 | 4685.967 | 0.99 | 11895.147
95 |  | RG6 Coaxial Cabel With 3/4" EMT Conduit | 147.63 | 10% | 162.393 | LF | 1.6518 | 268.2408 | 1 | COMM | 65 | 0.045 | 7.3077 | 474.9995 | 4.5768 | 743.2403
Site
SWITCH
96 |  | 12 Port Network Switch Within Nema 3R Weatherproof Enclosure | 2 | 0% | 2 | EA | 1356.25 | 2712.5 | 1 | COMM | 73.7485 | 4.136 | 8.272 | 610.0476 | 1661.2738 | 3322.5476
RECEPTACLE
97 |  | WEATHERPROOF 120V RECEPTACLE | 2 | 0% | 2 | EA | 23.54 | 47.08 | 1 | COMM | 73.7485 | 0.605 | 1.21 | 89.2357 | 68.1578 | 136.3157
Camera
98 |  | Ceiling Mounted Axis Camera | 2 | 0% | 2 | EA | 295.62 | 591.24 | 1 | COMM | 73.7485 | 2.866 | 5.732 | 422.7264 | 506.9832 | 1013.9664
99 |  | Water Proof Ceiling Mounted Axis Camera | 3 | 0% | 3 | EA | 978.12 | 2934.36 | 1 | COMM | 73.7485 | 3.522 | 10.566 | 779.2267 | 1237.8622 | 3713.5867
Card
100 |  | CR:Card Reader | 2 | 0% | 2 | EA | 175.36 | 350.72 | 1 | COMM | 73.7485 | 1.361 | 2.722 | 200.7434 | 275.7317 | 551.4634
Intercom
101 |  | IC: Intercom Station With Integral Door Release Push Button | 2 | 0% | 2 | EA | 567.26 | 1134.52 | 1 | COMM | 73.7485 | 2.558 | 5.116 | 377.2973 | 755.9087 | 1511.8173
CONNECTION
102 |  | CONNECTION TO BMS SYSTEM PANEL. | 1 | 0% | 1 | EA | 55 | 55 | 1 | COMM | 73.7485 | 1.122 | 1.122 | 82.7458 | 137.7458 | 137.7458
Conduit
103 |  | Below Grade 2" Sch 40 PVC Conduit With Pull String For 12 Strand Os2 Fiber | 942.53 | 10% | 1036.783 | LF | 3.26 | 3379.9126 | 1 | COMM | 73.7485 | 0.082 | 85.0162 | 6269.8177 | 9.3074 | 9649.7302
104 |  | (2) Below Grade 2" Sch 40 PVC Conduit With Pull String For Incoming Fiber Connection. | 2323.75 | 10% | 2556.125 | LF | 6.52 | 16665.935 | 1 | COMM | 73.7485 | 0.164 | 419.2045 | 30915.7031 | 18.6148 | 47581.6381
105 |  | (4) Below Grade 4" Sch 40 Pvc Conduits With Pull String For Incoming Telecom Service. | 115.01 | 10% | 126.511 | LF | 28.56 | 3613.1542 | 1 | COMM | 73.7485 | 0.644 | 81.4731 | 6008.5177 | 76.054 | 9621.6719
106 |  | Below Grade 2" Sch 40 PVC Conduit With Pull String For Fiber Connection To | 327.75 | 10% | 360.525 | LF | 3.26 | 1175.3115 | 1 | COMM | 73.7485 | 0.082 | 29.5631 | 2180.2306 | 9.3074 | 3355.5421
Outlet
107 |  | 2 Port Multiuse Data/Voice Outlet | 3 | 0% | 3 | EA | 25.12 | 75.36 | 1 | COMM | 73.7485 | 0.356 | 1.068 | 78.7634 | 51.3745 | 154.1234
|  | Subtotal (Low Voltage) |  |  |  | TOTAL MAT COST: |  | 456828.9944 |  |  |  |  | LABOR COST | 231097.5558 |  |  | 687926.5502
SUBTOTAL | [16 empty] | 687926.5502
TAX |  |  | 7% | [13 empty] | 31978.0296
OVERHEADS & PROFITS |  |  | 20% | [13 empty] | 137585.31
INSURANCES |  |  | 3% | [13 empty] | 20637.7965
CONTIGENCY |  |  | 7% | [13 empty] | 48154.8585
TOTAL BASE BID | [16 empty] | 926282.5449
Note:
1. This estimate is based on real market prices that are regularly updated by our team persons through market surveys and online resources, we still encourage our clients to put their own.
2. This sheet is your property and we encourage you to fine tune the wastage and pricing values to your preference.
3. Feel free to contact us for any queries or suggestions.