## Base-Bid
PROJECT
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
DIV21 | FIRE SUPRRESSION
Cellar Floor
FP5 | 1" Sprinkler Pipe |  |  | 392.59 | 10% | 431.849 | LF | 0 | 0
FP5 | 1-1/4" Sprinkler Pipe |  |  | 85.06 | 10% | 93.566 | LF | 0 | 0
FP5 | 1-1/2" Sprinkler Pipe |  |  | 88.63 | 10% | 97.493 | LF | 0 | 0
FP5 | 2" Sprinkler Pipe |  |  | 58.46 | 10% | 64.306 | LF | 0 | 0
FP5 | 2-1/2" Sprinkler Pipe |  |  | 30.91 | 10% | 34.001 | LF | 0 | 0
FP5 | 3" Sprinkler Pipe |  |  | 114.29 | 10% | 125.719 | LF | 0 | 0
FP5 | 6" Fire Stand Pipe |  |  | 216.07 | 10% | 237.677 | LF | 0 | 0
FP5 | 3" Drain Pipe |  |  | 24.92 | 10% | 27.412 | LF | 0 | 0
FP5 | Concealed Sprinkler Head |  |  | 51 | 0% | 51 | EA | 0 | 0
FP5 | Upright Sprinkler Head |  |  | 10 | 0% | 10 | EA | 0 | 0
FP5 | DAC-1 Dry Sprinkler System Air COmpressor |  |  | 1 | 0% | 1 | EA | 0 | 0
FP5 | 3" Dry Isolation Valve |  |  | 1 | 0% | 1 | EA | 0 | 0
FP5 | 6" Check Valve |  |  | 1 | 0% | 1 | EA | 0 | 0
FP5 | FPB-1 Sprinkler Bosster Pump |  |  | 1 | 0% | 1 | EA | 0 | 0
FP5 | JP-1 Sprinkler Jockey Pump |  |  | 1 | 0% | 1 | EA | 0 | 0
FP5 | Jockey Bosster Pump Control Panel |  |  | 1 | 0% | 1 | EA | 0 | 0
FP5 | Sprinkler Booster Pump Control Panel |  |  | 1 | 0% | 1 | EA | 0 | 0
FP5 | 6" Water Service Tap |  |  | 2 | 0% | 2 | EA | 0 | 0
FP5 | 4" Water Pipe |  |  | 26.56 | 10% | 29.216 | LF | 0 | 0
1st Floor
FP6 | 1" Sprinkler Pipe |  |  | 850.95 | 10% | 936.045 | LF | 0 | 0
FP6 | 1-1/4" Sprinkler Pipe |  |  | 226.41 | 10% | 249.051 | LF | 0 | 0
FP6 | 1-1/2" Sprinkler Pipe |  |  | 184.19 | 10% | 202.609 | LF | 0 | 0
FP6 | 2" Sprinkler Pipe |  |  | 75.76 | 10% | 83.336 | LF | 0 | 0
FP6 | 2-1/2" Sprinkler Pipe |  |  | 33.79 | 10% | 37.169 | LF | 0 | 0
FP6 | 3" Sprinkler Pipe |  |  | 259.75 | 10% | 285.725 | LF | 0 | 0
FP6 | 6" Fire Stand Pipe |  |  | 87.13 | 10% | 95.843 | LF | 0 | 0
FP6 | 3-1/2" Sprinkler Pipe |  |  | 28.29 | 10% | 31.119 | LF | 0 | 0
FP6 | Concealed Sprinkler Head |  |  | 70 | 0% | 70 | EA | 0 | 0
FP6 | Upright Sprinkler Head |  |  | 86 | 0% | 86 | EA | 0 | 0
FP6 | 4x4x4 Sprinkler FDC Siamese |  |  | 1 | 0% | 1 | EA | 0 | 0
2nd Floor
FP7 | 1" Sprinkler Pipe |  |  | 767.84 | 10% | 844.624 | LF | 0 | 0
FP7 | 1-1/4" Sprinkler Pipe |  |  | 98.24 | 10% | 108.064 | LF | 0 | 0
FP7 | 1-1/2" Sprinkler Pipe |  |  | 51.65 | 10% | 56.815 | LF | 0 | 0
FP7 | 2" Sprinkler Pipe |  |  | 86.42 | 10% | 95.062 | LF | 0 | 0
FP7 | 2-1/2" Sprinkler Pipe |  |  | 24.92 | 10% | 27.412 | LF | 0 | 0
FP7 | 3" Sprinkler Pipe |  |  | 201.4 | 10% | 221.54 | LF | 0 | 0
FP7 | Concealed Sprinkler Head |  |  | 110 | 0% | 110 | EA | 0 | 0
FP7 | Upright Sprinkler Head |  |  | 6 | 0% | 6 | EA | 0 | 0
PROJECT
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
3rd Floor
FP8 | Upright Sprinkler Head |  |  | 6 | 0% | 6 | EA | 0 | 0
FP8 | Concealed Sprinkler Head |  |  | 110 | 0% | 110 | EA | 0 | 0
FP8 | 1-1/4" Sprinkler Pipe |  |  | 98.24 | 10% | 108.064 | LF | 0 | 0
FP8 | 1-1/2" Sprinkler Pipe |  |  | 51.65 | 10% | 56.815 | LF | 0 | 0
FP8 | 2" Sprinkler Pipe |  |  | 86.42 | 10% | 95.062 | LF | 0 | 0
FP8 | 1" Sprinkler Pipe |  |  | 761.1 | 10% | 837.21 | LF | 0 | 0
FP8 | 2-1/2" Sprinkler Pipe |  |  | 24.92 | 10% | 27.412 | LF | 0 | 0
FP8 | 3" Sprinkler Pipe |  |  | 201.4 | 10% | 221.54 | LF | 0 | 0
4th FLoor
FP9 | Concealed Sprinkler Head |  |  | 110 | 0% | 110 | EA | 0 | 0
FP9 | 1" Sprinkler Pipe |  |  | 761.1 | 10% | 837.21 | LF | 0 | 0
FP9 | 3" Sprinkler Pipe |  |  | 201.4 | 10% | 221.54 | LF | 0 | 0
FP9 | 1-1/4" Sprinkler Pipe |  |  | 98.24 | 10% | 108.064 | LF | 0 | 0
FP9 | 1-1/2" Sprinkler Pipe |  |  | 51.65 | 10% | 56.815 | LF | 0 | 0
FP9 | 2" Sprinkler Pipe |  |  | 86.42 | 10% | 95.062 | LF | 0 | 0
FP9 | 2-1/2" Sprinkler Pipe |  |  | 24.92 | 10% | 27.412 | LF | 0 | 0
FP9 | Upright Sprinkler Head |  |  | 6 | 0% | 6 | EA | 0 | 0
5th Floor
FP10 | Concealed Sprinkler Head |  |  | 110 | 0% | 110 | EA | 0 | 0
FP10 | 1" Sprinkler Pipe |  |  | 780.53 | 10% | 858.583 | LF | 0 | 0
FP10 | 3" Sprinkler Pipe |  |  | 201.4 | 10% | 221.54 | LF | 0 | 0
FP10 | 1-1/4" Sprinkler Pipe |  |  | 98.24 | 10% | 108.064 | LF | 0 | 0
FP10 | 1-1/2" Sprinkler Pipe |  |  | 51.65 | 10% | 56.815 | LF | 0 | 0
FP10 | 2" Sprinkler Pipe |  |  | 86.42 | 10% | 95.062 | LF | 0 | 0
FP10 | 2-1/2" Sprinkler Pipe |  |  | 24.92 | 10% | 27.412 | LF | 0 | 0
FP10 | Upright Sprinkler Head |  |  | 8 | 0% | 8 | EA | 0 | 0
Roof
FP11 | 1" Sprinkler Pipe |  |  | 74.5 | 10% | 81.95 | LF | 0 | 0
FP11 | 1-1/4" Sprinkler Pipe |  |  | 6.99 | 10% | 7.689 | LF | 0 | 0
FP11 | 2" Sprinkler Pipe |  |  | 4.22 | 10% | 4.642 | LF | 0 | 0
FP11 | Upright Sprinkler Head |  |  | 9 | 0% | 9 | EA | 0 | 0
Risers
FP12 | FHC |  |  | 12 | 0% | 12 | EA | 0 | 0
FP12 | Flow Switch FS |  |  | 12 | 0% | 12 | EA | 0 | 0
FP12 | Pressure Gauge |  |  | 2 | 0% | 2 | EA | 0 | 0
DIV22 | PLUMBING
Underground
P3 | 8" Sanitary Pipe |  |  | 17.01 | 10% | 18.711 | LF | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
Cellar Floor
P4 | Booster Pump BP-1 |  |  | 1 | 0% | 1 | EA | 0 | 0
P4 | 3" CWS Pipe |  |  | 153.35 | 10% | 168.685 | LF | 0 | 0
P4 | 3" Floor Drain |  |  | 2 | 0% | 2 | EA | 0 | 0
P4 | Ejector Sump Pump EP |  |  | 1 | 0% | 1 | EA | 0 | 0
P4 | 3" HCV |  |  | 1 | 0% | 1 | EA | 0 | 0
P4 | 3" MICV Shutoff |  |  | 1 | 0% | 1 | EA | 0 | 0
P4 | 3" Water Meter |  |  | 1 | 0% | 1 | EA | 0 | 0
P4 | 3" RPZA |  |  | 1 | 0% | 1 | EA | 0 | 0
P4 | 2" Capped Test Tee |  |  | 1 | 0% | 1 | EA | 0 | 0
P4 | 3" MOCV |  |  | 1 | 0% | 1 | EA | 0 | 0
P4 | 3" Curb Vlave & Box |  |  | 1 | 0% | 1 | EA | 0 | 0
P4 | 6" Blackflow Preventor |  |  | 3 | 0% | 3 | EA | 0 | 0
P4 | 6" Curb Valve & Box |  |  | 1 | 0% | 1 | EA | 0 | 0
P4 | 6" Sanitary Pipe |  |  | 109.38 | 10% | 120.318 | LF | 0 | 0
P4 | 8" Sanitary Pipe |  |  | 78.81 | 10% | 86.691 | LF | 0 | 0
1st Floor
P5 | 2" Saniatry Pipe |  |  | 74.56 | 10% | 82.016 | LF | 0 | 0
P5 | 3" Sanitary Pipe |  |  | 206.99 | 10% | 227.689 | LF | 0 | 0
P5 | 1-1/2" Sanitary Pipe |  |  | 13.9 | 10% | 15.29 | LF | 0 | 0
P5 | 4" Water Pipe |  |  | 6.06 | 10% | 6.666 | LF | 0 | 0
P5 | 3/4" Water Pipe |  |  | 247.9 | 10% | 272.69 | LF | 0 | 0
P5 | 1/2" Water Pipe |  |  | 320.64 | 10% | 352.704 | LF | 0 | 0
P5 | Electric Water Heater EWH |  |  | 4 | 0% | 4 | EA | 0 | 0
P5 | Water Closet WC |  |  | 8 | 0% | 8 | EA | 0 | 0
P5 | Lavatory LAV |  |  | 8 | 0% | 8 | EA | 0 | 0
P5 | Kitchen Sink K-Sink |  |  | 4 | 0% | 4 | EA | 0 | 0
P5 | Shower SHW |  |  | 8 | 0% | 8 | EA | 0 | 0
P5 | Dish Washer |  |  | 4 | 0% | 4 | EA | 0 | 0
P5 | Dryer and Washer |  |  | 4 | 0% | 4 | EA | 0 | 0
2nd Floor
P6 | 2" Saniatry Pipe |  |  | 203.02 | 10% | 223.322 | LF | 0 | 0
P6 | 3" Sanitary Pipe |  |  | 418.96 | 10% | 460.856 | LF | 0 | 0
P6 | 1-1/2" Sanitary Pipe |  |  | 47.52 | 10% | 52.272 | LF | 0 | 0
P6 | 3/4" Water Pipe |  |  | 672.62 | 10% | 739.882 | LF | 0 | 0
P6 | 1/2" Water Pipe |  |  | 736.96 | 10% | 810.656 | LF | 0 | 0
P6 | Electric Water Heater EWH |  |  | 11 | 0% | 11 | EA | 0 | 0
P6 | 3" Strom |  |  | 171.67 | 10% | 188.837 | LF | 0 | 0
P6 | 4" Saniatry Pipe |  |  | 81.56 | 10% | 89.716 | LF | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
P6 | 3" Vent Pipe |  |  | 81.67 | 10% | 89.837 | LF | 0 | 0
P6 | 1" Water Pipe |  |  | 9.02 | 10% | 9.922 | LF | 0 | 0
P6 | 1-1/2" Water Pipe |  |  | 45.63 | 10% | 50.193 | LF | 0 | 0
P6 | 3" Strom Pipe |  |  | 36.37 | 10% | 40.007 | LF | 0 | 0
P6 | 4" Roof Drain |  |  | 10 | 0% | 10 | EA | 0 | 0
P6 | Water Closet WC |  |  | 17 | 0% | 17 | EA | 0 | 0
P6 | Lavatory LAV |  |  | 17 | 0% | 17 | EA | 0 | 0
P6 | Shower SHW |  |  | 17 | 0% | 17 | EA | 0 | 0
P6 | Kitchen SInk |  |  | 11 | 0% | 11 | EA | 0 | 0
P6 | Dish Washer |  |  | 11 | 0% | 11 | EA | 0 | 0
P6 | Dryer and Washer |  |  | 11 | 0% | 11 | EA | 0 | 0
3rd Floor
P7 | Dryer and Washer |  |  | 11 | 0% | 11 | EA | 0 | 0
P7 | Dish Washer |  |  | 11 | 0% | 11 | EA | 0 | 0
P7 | Kitchen SInk |  |  | 11 | 0% | 11 | EA | 0 | 0
P7 | Shower SHW |  |  | 17 | 0% | 17 | EA | 0 | 0
P7 | Lavatory LAV |  |  | 17 | 0% | 17 | EA | 0 | 0
P7 | Water Closet WC |  |  | 17 | 0% | 17 | EA | 0 | 0
P7 | 1-1/2" Water Pipe |  |  | 45.63 | 10% | 50.193 | LF | 0 | 0
P7 | 3" Vent Pipe |  |  | 81.67 | 10% | 89.837 | LF | 0 | 0
P7 | 4" Saniatry Pipe |  |  | 81.56 | 10% | 89.716 | LF | 0 | 0
P7 | 3" Strom Pipe |  |  | 82.28 | 10% | 90.508 | LF | 0 | 0
P7 | 1" Water Pipe |  |  | 9.02 | 10% | 9.922 | LF | 0 | 0
P7 | 3/4" Water Pipe |  |  | 676.31 | 10% | 743.941 | LF | 0 | 0
P7 | Electric Water Heater EWH |  |  | 11 | 0% | 11 | EA | 0 | 0
P7 | 1-1/2" Sanitary Pipe |  |  | 47.34 | 10% | 52.074 | LF | 0 | 0
P7 | 2" Saniatry Pipe |  |  | 206.6 | 10% | 227.26 | LF | 0 | 0
P7 | 3" Sanitary Pipe |  |  | 418.96 | 10% | 460.856 | LF | 0 | 0
P7 | 1/2" Water Pipe |  |  | 739.66 | 10% | 813.626 | LF | 0 | 0
P7 | 2" Drain |  |  | 16 | 0% | 16 | EA | 0 | 0
P7 | 2" Drain Pipe |  |  | 59.49 | 10% | 65.439 | LF | 0 | 0
4th Floor
P8 | Dryer and Washer |  |  | 11 | 0% | 11 | EA | 0 | 0
P8 | Dish Washer |  |  | 11 | 0% | 11 | EA | 0 | 0
P8 | Kitchen SInk |  |  | 11 | 0% | 11 | EA | 0 | 0
P8 | Shower SHW |  |  | 17 | 0% | 17 | EA | 0 | 0
P8 | Lavatory LAV |  |  | 17 | 0% | 17 | EA | 0 | 0
P8 | Water Closet WC |  |  | 17 | 0% | 17 | EA | 0 | 0
P8 | 2" Drain Pipe |  |  | 59.48 | 10% | 65.428 | LF | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
P8 | 2" Drain |  |  | 16 | 0% | 16 | EA | 0 | 0
P8 | 3" Strom Pipe |  |  | 82.28 | 10% | 90.508 | LF | 0 | 0
P8 | 3/4" Water Pipe |  |  | 676.31 | 10% | 743.941 | LF | 0 | 0
P8 | 1/2" Water Pipe |  |  | 739.66 | 10% | 813.626 | LF | 0 | 0
P8 | 1-1/2" Sanitary Pipe |  |  | 47.34 | 10% | 52.074 | LF | 0 | 0
P8 | 2" Saniatry Pipe |  |  | 206.6 | 10% | 227.26 | LF | 0 | 0
P8 | 3" Sanitary Pipe |  |  | 418.96 | 10% | 460.856 | LF | 0 | 0
P8 | Electric Water Heater EWH |  |  | 11 | 0% | 11 | EA | 0 | 0
P8 | 4" Saniatry Pipe |  |  | 81.56 | 10% | 89.716 | LF | 0 | 0
P8 | 3" Vent Pipe |  |  | 81.67 | 10% | 89.837 | LF | 0 | 0
P8 | 1" Water Pipe |  |  | 9.02 | 10% | 9.922 | LF | 0 | 0
P8 | 1-1/2" Water Pipe |  |  | 45.63 | 10% | 50.193 | LF | 0 | 0
5th Floor
P9 | Dryer and Washer |  |  | 11 | 0% | 11 | EA | 0 | 0
P9 | Dish Washer |  |  | 11 | 0% | 11 | EA | 0 | 0
P9 | Kitchen SInk |  |  | 11 | 0% | 11 | EA | 0 | 0
P9 | Shower SHW |  |  | 17 | 0% | 17 | EA | 0 | 0
P9 | Lavatory LAV |  |  | 17 | 0% | 17 | EA | 0 | 0
P9 | Water Closet WC |  |  | 17 | 0% | 17 | EA | 0 | 0
P9 | 2" Drain Pipe |  |  | 59.49 | 10% | 65.439 | LF | 0 | 0
P9 | 2" Drain |  |  | 16 | 0% | 16 | EA | 0 | 0
P9 | 3" Strom Pipe |  |  | 82.28 | 10% | 90.508 | LF | 0 | 0
P9 | 3/4" Water Pipe |  |  | 676.31 | 10% | 743.941 | LF | 0 | 0
P9 | 1/2" Water Pipe |  |  | 739.66 | 10% | 813.626 | LF | 0 | 0
P9 | 1-1/2" Sanitary Pipe |  |  | 47.34 | 10% | 52.074 | LF | 0 | 0
P9 | 2" Saniatry Pipe |  |  | 206.6 | 10% | 227.26 | LF | 0 | 0
P9 | 3" Sanitary Pipe |  |  | 418.96 | 10% | 460.856 | LF | 0 | 0
P9 | Electric Water Heater EWH |  |  | 11 | 0% | 11 | EA | 0 | 0
P9 | 4" Saniatry Pipe |  |  | 81.56 | 10% | 89.716 | LF | 0 | 0
P9 | 3" Vent Pipe |  |  | 81.67 | 10% | 89.837 | LF | 0 | 0
P9 | 1" Water Pipe |  |  | 9.02 | 10% | 9.922 | LF | 0 | 0
P9 | 1-1/2" Water Pipe |  |  | 45.63 | 10% | 50.193 | LF | 0 | 0
Roof
P10 | 4" Sanitary Pipe |  |  | 81.83 | 10% | 90.013 | LF | 0 | 0
P10 | 4" Roof Drain |  |  | 6 | 0% | 6 | EA | 0 | 0
DIV23 | HVAC
Cellar Floor
M4 | Refrigerant Pipe |  |  | 841.94 | 10% | 926.134 | LF | 0 | 0
M4 | 8" Duct |  |  | 60.12 | 10% | 66.132 | LF | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
M4 | Condensate Pipe |  |  | 278.22 | 10% | 306.042 | LF | 0 | 0
M4 | Air Handeling Unit |  |  | 8 | 0% | 8 | EA | 0 | 0
M4 | Heat Recovery Branch Selector Box |  |  | 3 | 0% | 3 | EA | 0 | 0
M4 | Grill |  |  | 2 | 0% | 2 | EA | 0 | 0
M4 | Exhaust EX |  |  | 1 | 0% | 1 | EA | 0 | 0
M4 | Fire Damper |  |  | 3 | 0% | 3 | EA | 0 | 0
M4 | Temperature Sensor |  |  | 10 | 0% | 10 | EA | 0 | 0
M4 | Thermostate |  |  | 1 | 0% | 1 | EA | 0 | 0
1st Floor
M5 | 5" Duct |  |  | 533.5 | 10% | 586.85 | LF | 0 | 0
M5 | 4" Duct |  |  | 16.42 | 10% | 18.062 | LF | 0 | 0
M5 | 6" Duct |  |  | 18.08 | 10% | 19.888 | LF | 0 | 0
M5 | 7" Duct |  |  | 18.06 | 10% | 19.866 | LF | 0 | 0
M5 | Refigerant Pipe |  |  | 2025.77 | 10% | 2228.347 | LF | 0 | 0
M5 | Condensate Pipe |  |  | 194.17 | 10% | 213.587 | LF | 0 | 0
M5 | AOI |  |  | 4 | 0% | 4 | EA | 0 | 0
M5 | EXH |  |  | 4 | 0% | 4 | EA | 0 | 0
M5 | Electric Heater EH |  |  | 4 | 0% | 4 | EA | 0 | 0
M5 | Air Handeling Unit AHU |  |  | 19 | 0% | 19 | EA | 0 | 0
M5 | TX1 |  |  | 8 | 0% | 8 | EA | 0 | 0
M5 | KX |  |  | 5 | 0% | 5 | EA | 0 | 0
M5 | RXF |  |  | 2 | 0% | 2 | EA | 0 | 0
M5 | ERV |  |  | 4 | 0% | 4 | EA | 0 | 0
M5 | Diffuser |  |  | 4 | 0% | 4 | EA | 0 | 0
M5 | Heat Recovery Branch Selector Box |  |  | 6 | 0% | 6 | EA | 0 | 0
M5 | Grill |  |  | 3 | 0% | 3 | EA | 0 | 0
M5 | EX |  |  | 1 | 0% | 1 | EA | 0 | 0
M5 | HP |  |  | 7 | 0% | 7 | EA | 0 | 0
M5 | Thermostate |  |  | 25 | 0% | 25 | EA | 0 | 0
M5 | Temperature Sensor |  |  | 3 | 0% | 3 | EA | 0 | 0
2nd Floor
M6 | 5" Duct |  |  | 1143.43 | 10% | 1257.773 | LF | 0 | 0
M6 | 6" Duct |  |  | 13.87 | 10% | 15.257 | LF | 0 | 0
M6 | Refigerant Pipe |  |  | 1901.42 | 10% | 2091.562 | LF | 0 | 0
M6 | Condensate Pipe |  |  | 428.93 | 10% | 471.823 | LF | 0 | 0
M6 | AOI |  |  | 11 | 0% | 11 | EA | 0 | 0
M6 | EXH |  |  | 11 | 0% | 11 | EA | 0 | 0
M6 | Air Handeling Unit AHU |  |  | 33 | 0% | 33 | EA | 0 | 0
M6 | TX1 |  |  | 17 | 0% | 17 | EA | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
M6 | KX |  |  | 11 | 0% | 11 | EA | 0 | 0
M6 | RXF |  |  | 11 | 0% | 11 | EA | 0 | 0
M6 | ERV |  |  | 10 | 0% | 10 | EA | 0 | 0
M6 | Diffuser |  |  | 11 | 0% | 11 | EA | 0 | 0
M6 | Heat Recovery Branch Selector Box |  |  | 11 | 0% | 11 | EA | 0 | 0
M6 | HP |  |  | 6 | 0% | 6 | EA | 0 | 0
M6 | Thermostate |  |  | 57 | 0% | 57 | EA | 0 | 0
3rd Floor
M7 | RXF |  |  | 11 | 0% | 11 | EA | 0 | 0
M7 | Thermostate |  |  | 57 | 0% | 57 | EA | 0 | 0
M7 | AOI |  |  | 11 | 0% | 11 | EA | 0 | 0
M7 | EXH |  |  | 11 | 0% | 11 | EA | 0 | 0
M7 | Diffuser |  |  | 11 | 0% | 11 | EA | 0 | 0
M7 | KX |  |  | 11 | 0% | 11 | EA | 0 | 0
M7 | TX1 |  |  | 17 | 0% | 17 | EA | 0 | 0
M7 | ERV |  |  | 10 | 0% | 10 | EA | 0 | 0
M7 | Heat Recovery Branch Selector Box |  |  | 11 | 0% | 11 | EA | 0 | 0
M7 | Air Handeling Unit AHU |  |  | 33 | 0% | 33 | EA | 0 | 0
M7 | Refigerant Pipe |  |  | 2224.52 | 10% | 2446.972 | LF | 0 | 0
M7 | 6" Duct |  |  | 13.87 | 10% | 15.257 | LF | 0 | 0
M7 | 5" Duct |  |  | 1139.6 | 10% | 1253.56 | LF | 0 | 0
M7 | Condensate Pipe |  |  | 437.91 | 10% | 481.701 | LF | 0 | 0
M7 | HP |  |  | 11 | 0% | 11 | EA | 0 | 0
4th Floor
M8 | Refigerant Pipe |  |  | 2224.51 | 10% | 2446.961 | LF | 0 | 0
M8 | 5" Duct |  |  | 1139.6 | 10% | 1253.56 | LF | 0 | 0
M8 | Condensate Pipe |  |  | 437.91 | 10% | 481.701 | LF | 0 | 0
M8 | HP |  |  | 11 | 0% | 11 | EA | 0 | 0
M8 | AOI |  |  | 11 | 0% | 11 | EA | 0 | 0
M8 | EXH |  |  | 11 | 0% | 11 | EA | 0 | 0
M8 | Air Handeling Unit AHU |  |  | 33 | 0% | 33 | EA | 0 | 0
M8 | TX1 |  |  | 17 | 0% | 17 | EA | 0 | 0
M8 | KX |  |  | 11 | 0% | 11 | EA | 0 | 0
M8 | Diffuser |  |  | 11 | 0% | 11 | EA | 0 | 0
M8 | ERV |  |  | 10 | 0% | 10 | EA | 0 | 0
M8 | Thermostate |  |  | 57 | 0% | 57 | EA | 0 | 0
M8 | Heat Recovery Branch Selector Box |  |  | 11 | 0% | 11 | EA | 0 | 0
M8 | RXF |  |  | 11 | 0% | 11 | EA | 0 | 0
M8 | 6" Duct |  |  | 13.87 | 10% | 15.257 | LF | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
5th Floor
M9 | Refigerant Pipe |  |  | 2604.05 | 10% | 2864.455 | LF | 0 | 0
M9 | 5" Duct |  |  | 1139.6 | 10% | 1253.56 | LF | 0 | 0
M9 | Condensate Pipe |  |  | 437.92 | 10% | 481.712 | LF | 0 | 0
M9 | HP |  |  | 11 | 0% | 11 | EA | 0 | 0
M9 | AOI |  |  | 11 | 0% | 11 | EA | 0 | 0
M9 | EXH |  |  | 11 | 0% | 11 | EA | 0 | 0
M9 | Air Handeling Unit AHU |  |  | 33 | 0% | 33 | EA | 0 | 0
M9 | TX1 |  |  | 17 | 0% | 17 | EA | 0 | 0
M9 | KX |  |  | 11 | 0% | 11 | EA | 0 | 0
M9 | Diffuser |  |  | 11 | 0% | 11 | EA | 0 | 0
M9 | ERV |  |  | 10 | 0% | 10 | EA | 0 | 0
M9 | Thermostate |  |  | 57 | 0% | 57 | EA | 0 | 0
M9 | Heat Recovery Branch Selector Box |  |  | 11 | 0% | 11 | EA | 0 | 0
M9 | RXF |  |  | 11 | 0% | 11 | EA | 0 | 0
M9 | 6" Duct |  |  | 13.87 | 10% | 15.257 | LF | 0 | 0
Roof
M10 | Electric Heater EH |  |  | 4 | 0% | 4 | EA | 0 | 0
M10 | Motorized Damper |  |  | 4 | 0% | 4 | EA | 0 | 0
M10 | Air Conditioner AC |  |  | 1 | 0% | 1 | EA | 0 | 0
M10 | Smoke Detector |  |  | 4 | 0% | 4 | EA | 0 | 0
M10 | HP Unit |  |  | 1 | 0% | 1 | EA | 0 | 0
M10 | 3'x1' Louver |  |  | 3 | 0% | 3 | EA | 0 | 0
Bulkhead
M10 | ERV-H |  |  | 1 | 0% | 1 | EA | 0 | 0
M10 | 12x10 Duct |  |  | 16.26 | 10% | 17.886 | LF | 0 | 0
M10 | 14x12 Duct |  |  | 4.22 | 10% | 4.642 | LF | 0 | 0
M10 | OAI |  |  | 1 | 0% | 1 | EA | 0 | 0
M10 | EX |  |  | 1 | 0% | 1 | EA | 0 | 0
Risers
M11 | Fire Damper |  |  | 12 | 0% | 12 | EA | 0 | 0
DIV26 | ELECTRICAL
Cellar Floor
E3,10 | Light D |  |  | 19 | 0% | 19 | EA | 0 | 0
E3,10 | Light F |  |  | 6 | 0% | 6 | EA | 0 | 0
E3,10 | Light D2 |  |  | 24 | 0% | 24 | EA | 0 | 0
E3,10 | Junction Box |  |  | 4 | 0% | 4 | EA | 0 | 0
E3,10 | Switch |  |  | 10 | 0% | 10 | EA | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
E3,10 | Disconnect Switch |  |  | 8 | 0% | 8 | EA | 0 | 0
E3,10 | Electrical Wiring |  |  | 716 | 10% | 787.6 | LF | 0 | 0
1st Floor
E4,11 | Light D |  |  | 13 | 0% | 13 | EA | 0 | 0
E4,11 | Junction Box |  |  | 7 | 0% | 7 | EA | 0 | 0
E4,11 | Light J |  |  | 35 | 0% | 35 | EA | 0 | 0
E4,11 | Light C |  |  | 15 | 0% | 15 | EA | 0 | 0
E4,11 | Light A |  |  | 20 | 0% | 20 | EA | 0 | 0
E4,11 | Light L |  |  | 8 | 0% | 8 | EA | 0 | 0
E4,11 | Light M |  |  | 6 | 0% | 6 | EA | 0 | 0
E4,11 | Light B |  |  | 8 | 0% | 8 | EA | 0 | 0
E4,11 | Light F |  |  | 26 | 0% | 26 | EA | 0 | 0
E4,11 | Switch |  |  | 58 | 0% | 58 | EA | 0 | 0
E4,11 | Duplex Receptacle |  |  | 29 | 0% | 29 | EA | 0 | 0
E4,11 | GFCI Duplex Receptacle |  |  | 12 | 0% | 12 | EA | 0 | 0
E4,11 | Simplex Receptacle |  |  | 24 | 0% | 24 | EA | 0 | 0
E4,11 | Double Duplex Receptacle |  |  | 4 | 0% | 4 | EA | 0 | 0
E4,11 | Disconnect Switch |  |  | 24 | 0% | 24 | EA | 0 | 0
E4,11 | Electrical Wiring |  |  | 1181 | 10% | 1299.1 | LF | 0 | 0
2nd Floor
E5,12 | Light D |  |  | 9 | 0% | 9 | EA | 0 | 0
E5,12 | Junction Box |  |  | 5 | 0% | 5 | EA | 0 | 0
E5,12 | Light J |  |  | 78 | 0% | 78 | EA | 0 | 0
E5,12 | Light C |  |  | 27 | 0% | 27 | EA | 0 | 0
E5,12 | Light A |  |  | 45 | 0% | 45 | EA | 0 | 0
E5,12 | Light L |  |  | 16 | 0% | 16 | EA | 0 | 0
E5,12 | Light M |  |  | 11 | 0% | 11 | EA | 0 | 0
E5,12 | Light B |  |  | 6 | 0% | 6 | EA | 0 | 0
E5,12 | Light EX-2 |  |  | 11 | 0% | 11 | EA | 0 | 0
E5,12 | Switch |  |  | 115 | 0% | 115 | EA | 0 | 0
E5,12 | Duplex Receptacle |  |  | 57 | 0% | 57 | EA | 0 | 0
E5,12 | GFCI Duplex Receptacle |  |  | 28 | 0% | 28 | EA | 0 | 0
E5,12 | Simplex Receptacle |  |  | 66 | 0% | 66 | EA | 0 | 0
E5,12 | Double Duplex Receptacle |  |  | 11 | 0% | 11 | EA | 0 | 0
E5,12 | Disconnect Switch |  |  | 35 | 0% | 35 | EA | 0 | 0
E5,12 | Electrical Wiring |  |  | 1567 | 10% | 1723.7 | LF | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
3rd Floor
E6,13 | Disconnect Switch |  |  | 43 | 0% | 43 | EA | 0 | 0
E6,13 | Switch |  |  | 115 | 0% | 115 | EA | 0 | 0
E6,13 | Double Duplex Receptacle |  |  | 13 | 0% | 13 | EA | 0 | 0
E6,13 | Light EX-2 |  |  | 24 | 0% | 24 | EA | 0 | 0
E6,13 | Light B |  |  | 6 | 0% | 6 | EA | 0 | 0
E6,13 | Simplex Receptacle |  |  | 66 | 0% | 66 | EA | 0 | 0
E6,13 | GFCI Duplex Receptacle |  |  | 29 | 0% | 29 | EA | 0 | 0
E6,13 | Light M |  |  | 11 | 0% | 11 | EA | 0 | 0
E6,13 | Duplex Receptacle |  |  | 55 | 0% | 55 | EA | 0 | 0
E6,13 | Light L |  |  | 16 | 0% | 16 | EA | 0 | 0
E6,13 | Light A |  |  | 45 | 0% | 45 | EA | 0 | 0
E6,13 | Light C |  |  | 27 | 0% | 27 | EA | 0 | 0
E6,13 | Light J |  |  | 78 | 0% | 78 | EA | 0 | 0
E6,13 | Junction Box |  |  | 5 | 0% | 5 | EA | 0 | 0
E6,13 | Light D |  |  | 9 | 0% | 9 | EA | 0 | 0
E6,13 | Electrical Wiring |  |  | 1705 | 10% | 1875.5 | LF | 0 | 0
4th Floor
E7,14 | Light EX-2 |  |  | 24 | 0% | 24 | EA | 0 | 0
E7,14 | Light D |  |  | 9 | 0% | 9 | EA | 0 | 0
E7,14 | Junction Box |  |  | 5 | 0% | 5 | EA | 0 | 0
E7,14 | Light J |  |  | 78 | 0% | 78 | EA | 0 | 0
E7,14 | Light C |  |  | 27 | 0% | 27 | EA | 0 | 0
E7,14 | Light A |  |  | 45 | 0% | 45 | EA | 0 | 0
E7,14 | Light L |  |  | 16 | 0% | 16 | EA | 0 | 0
E7,14 | Light M |  |  | 11 | 0% | 11 | EA | 0 | 0
E7,14 | Light B |  |  | 6 | 0% | 6 | EA | 0 | 0
E7,14 | Switch |  |  | 115 | 0% | 115 | EA | 0 | 0
E7,14 | Data Outlet |  |  | 2 | 0% | 2 | EA | 0 | 0
E7,14 | TV Outlet |  |  | 2 | 0% | 2 | EA | 0 | 0
E7,14 | Double Duplex Receptacle |  |  | 13 | 0% | 13 | EA | 0 | 0
E7,14 | Disconnect Switch |  |  | 43 | 0% | 43 | EA | 0 | 0
E7,14 | Duplex Receptacle |  |  | 57 | 0% | 57 | EA | 0 | 0
E7,14 | GFCI Duplex Receptacle |  |  | 28 | 0% | 28 | EA | 0 | 0
E7,14 | Simplex Receptacle |  |  | 66 | 0% | 66 | EA | 0 | 0
E7,14 | Electrical Wiring |  |  | 1747 | 10% | 1921.7 | LF | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
5th Floor
E8,15 | Light EX-2 |  |  | 24 | 0% | 24 | EA | 0 | 0
E8,15 | Light D |  |  | 9 | 0% | 9 | EA | 0 | 0
E8,15 | Junction Box |  |  | 5 | 0% | 5 | EA | 0 | 0
E8,15 | Light J |  |  | 78 | 0% | 78 | EA | 0 | 0
E8,15 | Light C |  |  | 27 | 0% | 27 | EA | 0 | 0
E8,15 | Light A |  |  | 45 | 0% | 45 | EA | 0 | 0
E8,15 | Light L |  |  | 16 | 0% | 16 | EA | 0 | 0
E8,15 | Light M |  |  | 11 | 0% | 11 | EA | 0 | 0
E8,15 | Light B |  |  | 6 | 0% | 6 | EA | 0 | 0
E8,15 | Switch |  |  | 115 | 0% | 115 | EA | 0 | 0
E8,15 | Data Outlet |  |  | 5 | 0% | 5 | EA | 0 | 0
E8,15 | TV Outlet |  |  | 4 | 0% | 4 | EA | 0 | 0
E8,15 | Double Duplex Receptacle |  |  | 16 | 0% | 16 | EA | 0 | 0
E8,15 | Disconnect Switch |  |  | 42 | 0% | 42 | EA | 0 | 0
E8,15 | Duplex Receptacle |  |  | 58 | 0% | 58 | EA | 0 | 0
E8,15 | GFCI Duplex Receptacle |  |  | 28 | 0% | 28 | EA | 0 | 0
E8,15 | Simplex Receptacle |  |  | 66 | 0% | 66 | EA | 0 | 0
E8,15 | Electrical Wiring |  |  | 1746 | 10% | 1920.6 | LF | 0 | 0
Roof
E9,16 | Light D |  |  | 7 | 0% | 7 | EA | 0 | 0
E9,16 | Junction Box |  |  | 3 | 0% | 3 | EA | 0 | 0
E9,16 | Disconnect Switch |  |  | 2 | 0% | 2 | EA | 0 | 0
E9,16 | Electrical Wiring |  |  | 52 | 10% | 57.2 | LF | 0 | 0
Panels
E17-20 | 208/120V Panel 1A |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 1B |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 1C |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 1D |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 2A |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 2B |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 2C |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 2D |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 2E |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 2F |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 2G |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 2H |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 2I |  |  | 1 | 0% | 1 | EA | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
E17-20 | 208/120V Panel 2J |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 2K |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3A |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3B |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3C |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3D |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3E |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3F |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3G |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3H |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3I |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3J |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 3K |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4A |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4B |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4C |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4D |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4E |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4F |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4G |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4H |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4I |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4J |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 4K |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5A |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5B |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5C |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5D |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5E |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5F |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5G |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5H |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5I |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5J |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel 5K |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel CT-1 |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel ELEV. |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel HP |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel HP-L |  |  | 1 | 0% | 1 | EA | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
E17-20 | 208/120V Panel MBK-1 |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel MBK-2 |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel MBK-3 |  |  | 1 | 0% | 1 | EA | 0 | 0
E17-20 | 208/120V Panel SBD-1 |  |  | 1 | 0% | 1 | EA | 0 | 0
Risers
E21 | XFMR CT-1 1000 KVA 480Y/227V |  |  | 1 | 0% | 1 | EA | 0 | 0
DIV27 | ELECTRONIC SAFETY AND SECUITY
Cellar Floor
FA3 | Value Tamper Supervisory Switch |  |  | 5 | 0% | 5 | EA | 0 | 0
FA3 | Waterflow Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
FA3 | AIM |  |  | 3 | 0% | 3 | EA | 0 | 0
FA3 | Fire Pump Controler |  |  | 1 | 0% | 1 | EA | 0 | 0
FA3 | Smoke Detector |  |  | 12 | 0% | 12 | EA | 0 | 0
FA3 | Fire Alarm Control Panel |  |  | 1 | 0% | 1 | EA | 0 | 0
FA3 | Speaker/Strobe Device |  |  | 5 | 0% | 5 | EA | 0 | 0
FA3 | 24V Door Holder |  |  | 1 | 0% | 1 | EA | 0 | 0
FA3 | Manual Pull Station |  |  | 1 | 0% | 1 | EA | 0 | 0
1st Floor
FA4 | Value Tamper Supervisory Switch |  |  | 2 | 0% | 2 | EA | 0 | 0
FA4 | Waterflow Switch |  |  | 2 | 0% | 2 | EA | 0 | 0
FA4 | AIM |  |  | 2 | 0% | 2 | EA | 0 | 0
FA4 | Smoke Detector |  |  | 16 | 0% | 16 | EA | 0 | 0
FA4 | Speaker/Strobe Device |  |  | 10 | 0% | 10 | EA | 0 | 0
FA4 | 24V Door Holder |  |  | 11 | 0% | 11 | EA | 0 | 0
FA4 | Manual Pull Station |  |  | 8 | 0% | 8 | EA | 0 | 0
FA4 | Smoke/CO Detector |  |  | 14 | 0% | 14 | EA | 0 | 0
FA4 | Circuit Breaker w/ Enclosure |  |  | 4 | 0% | 4 | EA | 0 | 0
FA4 | Fire Alarm Announciator |  |  | 1 | 0% | 1 | EA | 0 | 0
2nd Floor
FA5 | Value Tamper Supervisory Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
FA5 | Waterflow Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
FA5 | AIM |  |  | 3 | 0% | 3 | EA | 0 | 0
FA5 | Smoke Detector |  |  | 8 | 0% | 8 | EA | 0 | 0
FA5 | Speaker/Strobe Device |  |  | 3 | 0% | 3 | EA | 0 | 0
FA5 | Manual Pull Station |  |  | 1 | 0% | 1 | EA | 0 | 0
FA5 | Smoke/CO Detector |  |  | 30 | 0% | 30 | EA | 0 | 0
FA5 | Circuit Breaker w/ Enclosure |  |  | 11 | 0% | 11 | EA | 0 | 0
3rd Floor
FA6 | Smoke Detector |  |  | 8 | 0% | 8 | EA | 0 | 0
PROJECT |  | -
ADDRESS | 356-370 Bayview Avenue Inwood, NY
Date of submission | 2023-09-11 |  |  | E-mail: estimate@msbestimating.com
Date of plans | 2023-08-28 |  |  | Contact: | (305)-813-0053
TOTAL BASE BID
Scope: | As listed
Ref | Description | A | B | Quantity | Waste | w/waste | Unit | Unit Price | Sub-Total | Total
FA6 | Circuit Breaker w/ Enclosure |  |  | 11 | 0% | 11 | EA | 0 | 0
FA6 | Speaker/Strobe Device |  |  | 3 | 0% | 3 | EA | 0 | 0
FA6 | Value Tamper Supervisory Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
FA6 | Waterflow Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
FA6 | AIM |  |  | 3 | 0% | 3 | EA | 0 | 0
FA6 | Smoke/CO Detector |  |  | 31 | 0% | 31 | EA | 0 | 0
4th Floor
FA7 | Smoke/CO Detector |  |  | 31 | 0% | 31 | EA | 0 | 0
FA7 | Smoke Detector |  |  | 8 | 0% | 8 | EA | 0 | 0
FA7 | AIM |  |  | 3 | 0% | 3 | EA | 0 | 0
FA7 | Waterflow Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
FA7 | Value Tamper Supervisory Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
FA7 | Speaker/Strobe Device |  |  | 3 | 0% | 3 | EA | 0 | 0
FA7 | Circuit Breaker w/ Enclosure |  |  | 11 | 0% | 11 | EA | 0 | 0
5th Floor
FA8 | Smoke/CO Detector |  |  | 31 | 0% | 31 | EA | 0 | 0
FA8 | Smoke Detector |  |  | 8 | 0% | 8 | EA | 0 | 0
FA8 | AIM |  |  | 3 | 0% | 3 | EA | 0 | 0
FA8 | Waterflow Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
FA8 | Value Tamper Supervisory Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
FA8 | Speaker/Strobe Device |  |  | 3 | 0% | 3 | EA | 0 | 0
FA8 | Circuit Breaker w/ Enclosure |  |  | 11 | 0% | 11 | EA | 0 | 0
Roof
FA9 | Smoke Detector |  |  | 4 | 0% | 4 | EA | 0 | 0
FA9 | AIM |  |  | 3 | 0% | 3 | EA | 0 | 0
FA9 | Waterflow Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
FA9 | Value Tamper Supervisory Switch |  |  | 3 | 0% | 3 | EA | 0 | 0
DIV48 | ELECTRIC POWER GENERATION
PV2 | Sunpower SPR-X22-360 (360W) Module |  |  | 162 | 0% | 162 | EA | 0 | 0
PV2 | Combiner Box |  |  | 1 | 0% | 1 | EA | 0 | 0
PV3 | Solar Array String |  |  | 667.16 | 10% | 733.876 | LF | 0 | 0
Total | [9 empty] | 0
Sr# | SUMMARY | QNT. | UNT.
Sprinkler
1 | Sprinkler Piping | 7790 | LF
2 | Concealed Sprinkler Head | 561 | EA
3 | 3" Dry Isolation Valve | 1 | EA
4 | 4x4x4 Sprinkler FDC Siamese | 1 | EA
5 | 6" Check Valve | 1 | EA
6 | 6" Water Service Tap | 2 | EA
7 | DAC-1 Dry Sprinkler System Air COmpressor | 1 | EA
8 | FHC | 12 | EA
9 | Flow Switch FS | 12 | EA
10 | FPB-1 Sprinkler Bosster Pump | 1 | EA
11 | Jockey Bosster Pump Control Panel | 1 | EA
12 | JP-1 Sprinkler Jockey Pump | 1 | EA
13 | Pressure Gauge | 2 | EA
14 | Sprinkler Booster Pump Control Panel | 1 | EA
15 | Upright Sprinkler Head | 131 | EA
16 | Plumbing
17 | Plumbing Piping | 11160 | LF
18 | 2" Capped Test Tee | 1 | EA
19 | 2" Drain | 48 | EA
20 | 3" Curb Vlave & Box | 1 | EA
21 | 3" Floor Drain | 2 | EA
22 | 3" HCV | 1 | EA
23 | 3" MICV Shutoff | 1 | EA
24 | 3" MOCV | 1 | EA
25 | 3" RPZA | 1 | EA
26 | 3" Water Meter | 1 | EA
27 | 4" Roof Drain | 16 | EA
28 | 6" Blackflow Preventor | 3 | EA
29 | 6" Curb Valve & Box | 1 | EA
30 | Booster Pump BP-1 | 1 | EA
31 | Dish Washer | 48 | EA
32 | Dryer and Washer | 48 | EA
33 | Ejector Sump Pump EP | 1 | EA
34 | Electric Water Heater EWH | 48 | EA
Sr# | SUMMARY | QNT. | UNT.
35 | Kitchen Sink K-Sink | 48 | EA
36 | Lavatory LAV | 76 | EA
37 | Shower SHW | 76 | EA
38 | Water Closet WC | 76 | EA
39 | HVAC
40 | Duct Work | 5284 | LF
41 | Condensate Pipe | 2215 | LF
42 | Refigerant Pipe | 11822 | LF
43 | 3'x1' Louver | 3 | EA
44 | Air Conditioner AC | 1 | EA
45 | Air Handeling Unit | 159 | EA
46 | AOI | 49 | EA
47 | Diffuser | 48 | EA
48 | Electric Heater EH | 8 | EA
49 | ERV | 44 | EA
50 | ERV-H | 1 | EA
51 | EX | 3 | EA
52 | EXH | 48 | EA
53 | Fire Damper | 15 | EA
54 | Grill | 5 | EA
55 | Heat Recovery Branch Selector Box | 53 | EA
56 | HP Unit | 47 | EA
57 | KX | 49 | EA
58 | Motorized Damper | 4 | EA
59 | RXF | 46 | EA
60 | Smoke Detector | 4 | EA
61 | Temperature Sensor | 13 | EA
62 | Thermostate | 154 | EA
63 | TX1 | 76 | EA
64 | Electrical
65 | Electrical Wiring | 8714 | LF
66 | Electrical Panel | 56 | EA
67 | Data Outlet | 7 | EA
68 | Disconnect Switch | 197 | EA
69 | Double Duplex Receptacle | 57 | EA
Sr# | SUMMARY | QNT. | UNT.
70 | Duplex Receptacle | 256 | EA
71 | GFCI Duplex Receptacle | 125 | EA
72 | Junction Box | 34 | EA
73 | Light A | 200 | EA
74 | Light B | 32 | EA
75 | Light C | 123 | EA
76 | Light D | 75 | EA
77 | Light D2 | 24 | EA
78 | Light EX-2 | 83 | EA
79 | Light F | 32 | EA
80 | Light J | 347 | EA
81 | Light L | 72 | EA
82 | Light M | 50 | EA
83 | Simplex Receptacle | 288 | EA
84 | Switch | 528 | EA
85 | TV Outlet | 6 | EA
86 | XFMR CT-1 1000 KVA 480Y/227V | 1 | EA
87 | Fire Alarm
88 | 24V Door Holder | 12 | EA
89 | AIM | 20 | EA
90 | Circuit Breaker w/ Enclosure | 48 | EA
91 | Fire Alarm Announciator | 1 | EA
92 | Fire Alarm Control Panel | 1 | EA
93 | Fire Pump Controler | 1 | EA
94 | Manual Pull Station | 10 | EA
95 | Smoke Detector | 64 | EA
96 | Smoke/CO Detector | 137 | EA
97 | Speaker/Strobe Device | 27 | EA
98 | Value Tamper Supervisory Switch | 22 | EA
99 | Waterflow Switch | 20 | EA
100 | Solar
101 | Sunpower SPR-X22-360 (360W) Module | 162 | EA
102 | Combiner Box | 1 | EA
103 | Solar Array String | 667.16 | LF
Sr# | SUMMARY | QNT. | UNT.
Sprinkler
1 | Sprinkler Piping | 7790 | LF
2 | Concealed Sprinkler Head | 561 | EA
3 | 3" Dry Isolation Valve | 1 | EA
4 | 4x4x4 Sprinkler FDC Siamese | 1 | EA
5 | 6" Check Valve | 1 | EA
6 | 6" Water Service Tap | 2 | EA
7 | DAC-1 Dry Sprinkler System Air COmpressor | 1 | EA
8 | FHC | 12 | EA
9 | Flow Switch FS | 12 | EA
10 | FPB-1 Sprinkler Bosster Pump | 1 | EA
11 | Jockey Bosster Pump Control Panel | 1 | EA
12 | JP-1 Sprinkler Jockey Pump | 1 | EA
13 | Pressure Gauge | 2 | EA
14 | Sprinkler Booster Pump Control Panel | 1 | EA
15 | Upright Sprinkler Head | 131 | EA
16 | Plumbing
17 | Plumbing Piping | 11160 | LF
18 | 2" Capped Test Tee | 1 | EA
19 | 2" Drain | 48 | EA
20 | 3" Curb Vlave & Box | 1 | EA
21 | 3" Floor Drain | 2 | EA
22 | 3" HCV | 1 | EA
23 | 3" MICV Shutoff | 1 | EA
24 | 3" MOCV | 1 | EA
25 | 3" RPZA | 1 | EA
26 | 3" Water Meter | 1 | EA
27 | 4" Roof Drain | 16 | EA
28 | 6" Blackflow Preventor | 3 | EA
29 | 6" Curb Valve & Box | 1 | EA
30 | Booster Pump BP-1 | 1 | EA
Sr# | SUMMARY | QNT. | UNT.
31 | Dish Washer | 48 | EA
32 | Dryer and Washer | 48 | EA
33 | Ejector Sump Pump EP | 1 | EA
34 | Electric Water Heater EWH | 48 | EA
35 | Kitchen Sink K-Sink | 48 | EA
36 | Lavatory LAV | 76 | EA
37 | Shower SHW | 76 | EA
38 | Water Closet WC | 76 | EA
39 | HVAC
40 | Duct Work | 5284 | LF
41 | Condensate Pipe | 2215 | LF
42 | Refigerant Pipe | 11822 | LF
43 | 3'x1' Louver | 3 | EA
44 | Air Conditioner AC | 1 | EA
45 | Air Handeling Unit | 159 | EA
46 | AOI | 49 | EA
47 | Diffuser | 48 | EA
48 | Electric Heater EH | 8 | EA
49 | ERV | 44 | EA
50 | ERV-H | 1 | EA
51 | EX | 3 | EA
52 | EXH | 48 | EA
53 | Fire Damper | 15 | EA
54 | Grill | 5 | EA
55 | Heat Recovery Branch Selector Box | 53 | EA
56 | HP Unit | 47 | EA
57 | KX | 49 | EA
58 | Motorized Damper | 4 | EA
59 | RXF | 46 | EA
60 | Smoke Detector | 4 | EA
61 | Temperature Sensor | 13 | EA
62 | Thermostate | 154 | EA
63 | TX1 | 76 | EA
64 | Electrical
65 | Electrical Wiring | 8714 | LF
66 | Electrical Panel | 56 | EA
67 | Data Outlet | 7 | EA
68 | Disconnect Switch | 197 | EA
69 | Double Duplex Receptacle | 57 | EA
70 | Duplex Receptacle | 256 | EA
71 | GFCI Duplex Receptacle | 125 | EA
72 | Junction Box | 34 | EA
73 | Light A | 200 | EA
74 | Light B | 32 | EA
Sr# | SUMMARY | QNT. | UNT.
75 | Light C | 123 | EA
76 | Light D | 75 | EA
77 | Light D2 | 24 | EA
78 | Light EX-2 | 83 | EA
79 | Light F | 32 | EA
80 | Light J | 347 | EA
81 | Light L | 72 | EA
82 | Light M | 50 | EA
83 | Simplex Receptacle | 288 | EA
84 | Switch | 528 | EA
85 | TV Outlet | 6 | EA
86 | XFMR CT-1 1000 KVA 480Y/227V | 1 | EA
87 | Fire Alarm
88 | 24V Door Holder | 12 | EA
89 | AIM | 20 | EA
90 | Circuit Breaker w/ Enclosure | 48 | EA
91 | Fire Alarm Announciator | 1 | EA
92 | Fire Alarm Control Panel | 1 | EA
93 | Fire Pump Controler | 1 | EA
94 | Manual Pull Station | 10 | EA
95 | Smoke Detector | 64 | EA
96 | Smoke/CO Detector | 137 | EA
97 | Speaker/Strobe Device | 27 | EA
98 | Value Tamper Supervisory Switch | 22 | EA
99 | Waterflow Switch | 20 | EA
100 | Solar
101 | Sunpower SPR-X22-360 (360W) Module | 162 | EA
102 | Combiner Box | 1 | EA
103 | Solar Array String | 667.16 | LF